# Educational Specifications for

# Watkins Elementary School Addition and Modernization

# 440 capacity

# December 2014

# School Improvement Team Members

# Introduction

This document articulates the requirements for a modernized 1st through 5th grade school.   It describes the current and planned educational programs and services, the community characteristics that may affect facilities planning, and the opportunities and challenges associated with the design and construction.

##### Scope

This project is a phase 1 modernization of the existing school, however, the architect will develop concept plans for all three phases of the modernization.  The phase 1 work will include modernization of the academic areas, media center and administration functions as follows.

Four classes per grade (1-5)

Resource rooms and office areas (art, music, science, world language)

Media Center/computer lab

Administration and teacher workrooms

Corridors, stairwells, and toilets

The phase 2 and 3 work will include

Dining facility/kitchen

Physical education

Any major building systems and building service areas not replaced/renewed as part of Phase 1 and 2

The site is shared with the DC Department of Recreation (DPR).  Site work in Phase 1 will be directed at parking and circulation management.

The building is also shared with DPR with challenging overlap in programming. The modernization and possible future addition may offer opportunities to enhance the facilities that are shared creating more space with better separation. The architect will provide two options that include different levels of contribution from DPR. Additional guidance will be provided during the design process.

Background (from Web site)

With a commitment to small class sizes along with the amenities of a large school, Watkins is a safe, challenging, and engaging learning environment for first through fifth grade students.

INSPIRING LEARNERS

Watkins develops well-rounded students who work collaboratively and recognize their role as members of a larger community. With a curriculum focused on non-fiction writing, critical thinking skills, and conceptual math, teachers emphasize the application of numeracy and literacy to real-world situations, use multiple methods to teach each skill, and encourage students to explain and discuss their approach to solving problems. Six special subjects – art, music, computer, library, guidance, and physical education – reinforce and enhance the academic curriculum.

READING AND MATH BUDDIES

Capitalizing on our Pre-K through 8th grade learning community, older students partner with younger students as Reading and Math Buddies. These relationships provide younger students with academic support and positive role models while older students gain a sense of responsibility and commitment to their community.

A POSITIVE ENVIRONMENT

Watkins employs Responsive Classroom, a research-based approach to education that encourages cooperation, empathy, responsibility, self- control, and collaborative problem solving. Daily recess is supervised by teachers on a brand-new playground complete with a nature play area and climbing wall. A new turf field, basketball courts, and roller/ice rink provides additional space for play.

FOODPRINTS, GARDENS, AND FOOD LAB

The Watkins campus is home to the largest and most beautiful schoolyard gardening DCPS, with 20 themed gardens that support lessons across the curriculum. First, third and fourth graders participate in the innovative FoodPrints classes in which garden activities such as planting, harvesting, and cooking are used to teach concepts in science, math, social studies, physical education, and writing. Watkins boasts a brand-new Food Lab thanks to the generosity of over 470 individual donors who contributed a total of $60,000 to make the dream of a teaching kitchen a reality.

ARTS INTEGRATION IN ACTION
One example of arts integration at Watkins is the Young Playwrights Theater In-School Playwriting Program, which recently received a National Arts and Humanities Youth Program Award from First Lady Michelle Obama. Fourth-grade students explore playwriting, revision, and performance with professional playwrights, actors, directors, and teaching artists.  Students learn the importance of language structure, grammar, spelling, and vocabulary choice as a means of clearly communicating their own thoughts to the world around them.  During a series of standards-based, in-class workshops, students explore the mechanics of language, drama, and self-expression, culminating in the creation of their own original play.

Enrollment and Classroom Requirements

In 2014 the enrollment was as follows:

|  | Current Capacity | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Grade 5 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Watkins ES | 587 | 88 | 105 | 92 | 121 | 93 | 499 |

This Plan 1 proposes a future capacity of 440 and 4 classes per grade.

##### Overview of Planning Concepts

### Academic Cluster Concept

The Academic Cluster concept best meets the needs of the educational programs, students, and staff.  The cluster concept facilitates a variety of instructional strategies and it provides a learning environment which is characterized by flexibility, a sense of community for the students and teachers, and a safe, well-supervised environment.  Teachers will have the option and flexibility within a cluster to create and organize learning environments that work for students and their learning styles.

Academic areas are located in the quiet areas of the building that can be isolated during the off-hours.  Noisier areas are grouped near the parking and public areas and allow for after-hours access.  Diagram Intro A shows a typical design based on the cluster concept.

### Core Instructional Spaces

The basic organizational cluster for this school should consist of general purpose classrooms, commons or extended learning space for informal instruction, a small group room, and a teacher work center.  Each cluster would also contain a resource classroom used by support educators.  Student restrooms should be located within the cluster commons.

### Special Education

Special education facilities will be integrated throughout the school to support the concepts of inclusion and the specialized requirements for the students.  Special attention will be given to accessibility of all facilities and an integrated learning program.

### Instructional Methods

Watkins Elementary school is departmentalized. Teachers focus in on 2 subjects, rather than 4. For example, on a team of 4 teachers, two will teach math/science and two will teach literacy/social studies. The math/science and literacy/social studies teachers will "team teach" and students will switch teachers for half of the day. Students come to Watkins from Peabody Early Childhood Campus and then proceed to Stuart-Hobson Middle School. One principal oversees the three campuses with 2 assistant principals at Watkins running the daily operations of the building. There are also two instructional coaches, one who supports math/science and the other literacy/social studies.

Instructional methods vary with grade level, but maintain continuity from early childhood through the primary, intermediate, and middle grades.  Predominant elements include:

Integrated learning, where content areas cross disciplines

Flexible groupings

Mentoring of older to younger students

Extended day learning opportunities

Parent involvement and volunteer activities

### “Welcome Area”/Administration/Student Services

The front entry lobby should be welcoming and inviting for students, staff, and visitors.  Extensive display systems should be provided for 2-dimensional and 3-dimensional student work and awards.  Finishes should be durable and easy to maintain.  The scale of all spaces should be child-friendly.  Colors, artificial lighting, and natural daylighting should be managed artfully to create an environment that communicates that school is a very special place.

Visitors should be greeted by a security counter/desk where they will sign-in and show identification.  For additional security, it is preferable that the welcome center be able to see visitors coming through the front entrance as well.  The primary administrative offices will be located in this centralized area at the main entrance to the school.  Additional administrators may be distributed around the school at the school’s request.

### Media Center

The library is the heart of the school and it should be a special place for reading, storytelling, and sharing.    The current configuration - on both sides of the corridor - is difficult to manage and should be reorganize/relocated to offer a more cohesive identity. It should be spacious with room for two classes at a time. The furniture should be flexible and movable (on casters) so the room could be reconfigures as needed.  Bookcases in the center of the room should be low so younger children can access books and so the sight line is clear across the room.

The media center serves a dual role – its traditional role as a gathering place for research and learning and a new role as a technological information base. In its new role, the media center may house a transparent voice/video/data network, which runs throughout the entire building.  This network enables the transmission of media services to the desktops of teachers and students without physically entering the media center.

### Visual Arts and Performing Arts

The art, music, and multi-purpose classrooms will be shared by all grade levels for general class and small group instruction. The location and access to these rooms should promote orderly transitions.

If possible, the music suite will be located near the performance area with convenient access to the stage.

### Physical Education

The new DC Healthy Schools Act calls for 150 minutes of physical education for all children every week.  At Watkins this requires 2 teachers.  With up to 50 students taking PE at one time, the school needs a physical education space separate from the dining area.

To support the elementary school physical education program, a variety of indoor and outdoor areas are required.  Outdoor physical education teaching areas will be located near the indoor gymnasium. Indoor play space will also be used as a performance area. Physical education facilities must be designed with a focus on community use during non-school hours, since there is a high demand for both indoor and outdoor facilities.

The current scope calls for an elementary school physical education spaces (1/2 court).  Should DPR partner with this project, it is recommended that the new physical education space be a full size gymnasium and that some support spaces be provided as follows:

|  | Total | Comments |
| --- | --- | --- |
| Gymnasium Storage | 6,500 300 | With dividing wall; Jr High court with some recessed bleachers on one side |
| Multi-purpose room w/ kitchenette | 1,200 |  |
| Administration Reception and lobby Public bathrooms 2@250 Office First Aid center | 300 500 150 100 | w/ staff toilet |
|  | 9,050 |  |

### Community Use

It is assumed that the Department of Recreation will continue to use the building for after school and summer programs and that the community will hold meetings and educational functions in the school.  Security during these times is important.  The architect will note both active and passive security measures.

### Cafeteria

The ‘cafetorium’ will be used for student dining, performances, assemblies, and community meetings.  It is proposed through creative design that this area will effectively house multiple functions.  The serving areas should be efficient and accommodate students of various heights.

The architect should consider designs that would locate the dining and PE spaces adjacent with a movable wall that, when opened, would to allow for a large assemble space.

### Furniture & Equipment

Classrooms vary in shape and size; therefore, the furniture should be flexible to accommodate a variety of classroom formats for both individual and group activities.  Teachers and students should have storage space for personal belongings, papers, books, supplies, and teaching materials.

To the extent possible, movable furnishings will be used, rather than fixed casework, to provide flexibility for future reconfiguration.

### Technology

The facility will contain the latest in technology and be wired for voice, data, and video throughout the building.  The program design is intended to bring information to the desk of the student, and computer technology will be distributed in every classroom.  It is intended that access to technology will be seamless and pervasive throughout the building.

Every classroom will be wired for teacher audio enhancement.   Research into this cutting-edge technology suggests that student learning can improve in classrooms where the teacher’s voice is amplified and the classroom acoustics are designed to support voice clarity.

### Handicapped Accessibility

The entire facility will be accessible for students, staff, and visitors.  This will be accomplished through judicious use of ramping and elevators with sufficient internal clearances for circulation, convenient bus/van loading and unloading, and nearby handicapped parking spaces.  All elements of the Americans with Disabilities Act must be complied with, including wayfinding and signage, appropriate use of textures, and universal accessibility of all indoor and outdoor school facilities.

### Site

The site circulation will be organized for safety and efficiency.  This will be accomplished through careful separation of vehicular and pedestrian traffic.  The architect will evaluate the current morning and afternoon dismissal process and recommend options.

All play areas will be protected from vehicular and pedestrian traffic, so students can be assured of a safe and secure environment on the entire school site.

Environmental Performance Criteria

Scientists who study the "neuroscience of learning" are finding that certain lighting, acoustics, and spatial relationships support or hinder the learning process. The following criteria should be used when creating optimal learning and teaching environments.

Lighting Quality:  Improving natural and artificial lighting in classrooms

DESIGN PARAMETERS 		PARAMETER NOTES

1)  Controlled Natural Lighting (Glazing)    10 - 12% of floor S.F. 		LEED & Green Globe

2)  Artificial Light 	  35-50 Foot-candles			IES

Environmental / Air Quality:  Addressing temperature control, ventilation, air filtration, carbon dioxide levels, and HVAC background noise to ensure comfortable rooms.

DESIGN PARAMETERS 		PARAMETER NOTES

1)  Winter Temperature 	  68.5 to 75.5 degrees       EPA 2000 & ASHRAE 55-04

Summer Temperature 	  74 to 80 degrees

2)  Humidity                                       30 to 60% relative humidity	 EPA 2000 & ASHRAE 55-04

3)  Air Changes 	6-10 per hour 			ASHRAE

4)  Outdoor Air Ventilation 	10CFM per person 		Plus 0.12 per SF of area

5)  Air Filtration 	MERV 13 			LEED

MERV 6 to 8  		ASHRAE 52.2-2007 &

62.1-2007

6)  Carbon Dioxide Levels	Below 700 PPM above 			ASHRAE 62.1-2007

outdoor air

7)  HVAC Background Noise Level 	RC(N) Mark II level of 37			ASHRAE Handbook

Chapter 47

Acoustics: Limiting reverberation and background noise and improving sound isolation.

DESIGN PARAMETERS 		PARAMETER NOTES

1) Reverberation 	.6 per second 			(ANSI S12.60-2002)

2)  Background Noise 	45 dBA 			(LEED)

3) Sound Isolation (Varies) 	STC 45 between Classrooms

Technology:  Providing data connections for online learning resources, AV equipment, closed-circuit televisions, and a sound system with emergency capabilities.

DESIGN PARAMETERS 	PARAMETER NOTES

1)  Data / Computer Drops	At Teacher and Student Computers                                                              	at wireless access points

2)  Audio / Video Equipment

Interactive Whiteboard

Document cameras

Sound Reinforcement 	Amplifier, microphone, speakers

3)    Clock 	Synchronized with Bell system

4)    Sound System & Emergency Call-box

Ceiling or Wall Speaker	Class change bells, emergency announcements

5)   CCTV Camera

Security, WebX conferencing, Distance Learning

Sustainability: Build for energy efficiency

DESIGN PARAMETERS 	PARAMETER NOTES

1) Building EUI	 20% below Baseline		ASHRAE 2010

2)  Building Envelope	Meet or exceed R-value 		ASHRAE 90.1 2010	standards for building type

3) Water	Ultralow flow fixtures		ASHRAE 90.1 2010

# Safety & Security

DCPS wants to maintain an inviting environment, while simultaneously providing a safe environment for students, staff, and community who use the facility and adjacent support services.  The organization of a building will have a major impact on student behavior and safety concerns.  Building security can be addressed in an active or a passive manner: active security is based on security systems; passive security is based on program design, building configuration, and community participation. Schools should be based on passive concepts with applied active concepts where necessary.

### 1.	Building Layout

- Avoid blind spots, corners, and cubby holes

- Locate administrative and teacher preparation with good visual contact of major circulation  areas (i.e., corridors, cafeteria, bus drop-off, parking)

- Develop spatial relationships that naturally transition from one location to another

- Locate toilets in close proximity to classrooms

- Design toilets to balance the need for privacy with the ability to supervise

- Locate areas likely to have significant community (after school) use close to parking and 	where these areas can be closed off from the rest of the building

### 2.	Types of Building Materials

- Use durable wall surfaces that are easy to clean so graffiti can be removed

- Incorporate pitched roofs which inhibit roof entry and are aesthetically pleasing

- Operational part of windows on the ground floor should be in the upper portion to prevent access.

- Install non-slip floors and walk-off mats at point of entry

### 3.	Uses of Technology

  - Phones in every instructional and support area

  - Building-wide all-call designed to be heard throughout the school and on the play fields when needed

  - Motion or infra-red detectors, which can also conserve lighting costs

  - Video cameras that are used for instructional purposes could also be used for security purposes during non-school hours

  - Smoke and heat detectors located throughout the building

### 4.	Vehicular and Pedestrian Traffic

- Separate bus drop-off area from other vehicular traffic

- Separate staff and community parking area

- Separate student (pedestrian) traffic flow

### 5.	Landscaping, Play/Practice Fields, Site, and Lighting

- Use native high trees and low bushes (less than three feet high) to deter hiding

- Use aesthetically pleasing fencing around perimeter of the building

- Non-intrusive lighting of all areas (not correctional-type lighting) according to the Light Pollution Credit in LEED-Ss with no lighting to leave property line

- Provide security lighting around building and parking lots with photocell timer, motion sensor and  on/off capacity

# Energy and Environmental Design

There is a high interest in using the LEED certified school building as a teaching tool to teach environmental stewardship and awareness, while simultaneously providing an engaging environment for students, staff, and community who use the facility.

The organization, understanding and use of a building will have a major impact on student and staff conservation behavior.

The sustainable design and green features of the building can be addressed in an active or a passive manner: active interaction is based on digital displays, educational features and curriculum integrated learning about environmental issues; passive interaction is based on the program design, building configuration, green building features, and energy efficient building automation.

## Passive Concepts

### 1.	Building Layout

- Concentrate daylight and views to the outside to areas of frequent human interaction (e.g. classrooms, cafeterias, media center, art rooms, music rooms) with passive solar design

- Avoid skylights and use roof monitors with vertical glazing instead

### 2.	Types of Building Materials

- Use durable wall surfaces that are easy to clean

- Design for cleanability with easy and safe access

- Incorporate light colored pitched roofs to prevent heat gain and leakage

- Install high performance walk-off mats at all points of entry

- Design with noise minimization in mind

### 3.	Uses of Technology

- For instructional and administrative purposes, the new school should have extensive technology systems. These same infrastructures and technology components can be used to enhance the perception of the buildings environmental components.

- Digital display of buildings energy and water use at entrance and in cafeteria

- Website with environmental features of the school

- Use only vacancy sensors for classrooms, cafeteria etc. to turn off (not on) lighting

- Daylight sensors and dimming in larger areas (cafeteria, multi-purpose etc.)

### 4.	Vehicular and Pedestrian Traffic

  - Provide sufficient, covered and secures bicycle storage

  - Provide bicycle lanes to building from all major access directions

### 5.	Landscaping, Play/Practice Fields, Site, and Lighting

  - Use native high trees and low bushes and ground covers and locate to provide shade to the building

  - Non-intrusive lighting of all areas (not correctional-type lighting) according to the Light Pollution Credit in LEED-S with no lighting to leave property line

### 6.	Green Curriculum

- Provide outdoor classroom

- Design interior with sense of buildings orientation to North – East – South - West

## Active Concepts

### 1.	Building Layout

- Provide signage to educate users about interior and exterior green building features throughout

- Provide signage for user behavior modification, e.g. DCPS policy for thermostat settings, reminders to turn equipment off when not in use

- Provide visitor map with floor plan for location and explanation of green building features

### 2.	Types of Building Materials

- Provide view window to inside of wall constructions and mechanical room

- Provide materials with environmental massage in selective areas, e.g. 100% recycled post-consumer plastic toilet compartments, wheatboard cabinets, or furniture made of wood harvested from school site, and explain with signage.

### 3.	Uses of Technology

- For instructional and administrative purposes, the new school should have extensive technology systems. These same infrastructures and technology components can be used to enhance the perception of the buildings environmental components.

- Green morning announcement with update on energy and water use

- Student conducted energy audits

- School based resource conservation program with frequent feedback to users

### 4.	Vehicular and Pedestrian Traffic

- Provide preferred parking for DCPS Green Fleet (for carpooling and fuel efficient vehicles)

### 5.	Landscaping, Play/Practice Fields, Site, and Lighting

- Design for no-mow areas

- Design for student garden

- Provide solar or wind powered, off the grid site lighting as demonstration model for select areas

### 6.	Green Curriculum

- LEED credit Schools as a Teaching Tool requires 10 hours of instruction per student, grade and school year on environmental issues related to the school building. The school buildings design should support this requirement wherever possible.

Design Guidelines for Outdoor Classrooms and School Gardens

This section provides guidance on the design of outdoor classrooms (the structure where students gather to learn) and the school garden (the larger area encompassing the outdoor classroom). Outdoor classrooms complement and expand school garden sites by providing a gathering area for teaching, but they are also multi-use spaces that serve as classrooms that support standards-based learning across subject areas.

Expected Site Elements:

- Planting beds

- Organic soil (60% top soil/ 40% compost)

- Mulch (shredded hardwood or straw)

- Hose bib with hose rack (with two spigots- one for hose and one for irrigation, exterior and easily accessible placed within the garden if new construction)

- Plants (a variety of edible and non-edible species)

- Shade tree(s), trellises or awnings.

- Seating (may be moveable)

- Worktables (may be moveable)

- Pathways (around planting beds, through pollinator garden, etc.).

- Tool shed (large storage bench/box that is weatherized and secure no further than 100ft from gardening area. Storage immediately available inside the school may supplement outdoor storage space).

- Signage

- Fencing (height and type depending on local context)

- Access for large vehicles/supplies

- All-weather electrical outlet

- Drip Irrigation (for gardens larger than 200 square feet)

Potential Site Elements:

- Composting area

- Pollinator garden with paths to invite investigation

- Wildlife habitat area with paths to invite investigation

- Drip Irrigation (for gardens smaller than 200 square feet)

- Rain garden

- Outdoor kitchen

- Digging bed (for younger students)

- Hand washing station

- Outdoor science lab

- Arboretum

- Greenhouse/ hoop house

- Interactive learning stations

- Community garden plots

- Wi-Fi access

- Beehive

- Chicken coop

- Pond

- Mounding

Siting: The school garden should be clearly defined and located with the possibility of expanding activities in the future.  The space should be inviting and encourage classroom use any time the weather is at all agreeable, including during a warm snap in winter.  Capitalize on site features available by deliberately connecting to an existing stream or using a large shade tree for the gathering area or linking pathways to a natural habitat area. Ensure that enthusiasm for the garden does not overwhelm space that students require for active play and athletic activities.

The outdoor classroom should be located within the school garden in a well-used and highly visible part of the school grounds that is easily accessible for students and teachers.  Consider environmental factors, including noise, fumes from passing vehicles, sunlight, and slope; it should articulate with existing or planned natural wildlife habitat areas. If there are plans to expand or re-build the school in the foreseeable future, try to ensure the outdoor classroom and school garden is in a place that will remain undisturbed.

Solar aspect/shade:  The school garden plots should receive 6-8 hours of direct sunshine a day.  However, the outdoor classroom must be shaded either naturally with trees or trellises or with awnings, umbrellas or canopies. Student seating should not face south.

Accessibility: Walkways should be well defined, and accessible to students including those with disabilities. Refer to the current ADA standards for minimum design requirements. Remember to apply these standards as well to other program spaces associated with the outdoor classroom. Garden beds should be no wider than 4 feet for middle school and high school students and 3 feet for elementary school and early childhood students. Consider having at least one raised bed accessible to students in wheelchairs. The school garden and the outdoor classroom will need large enough work areas so that all students can easily pass through. The tool shed/box should including shelving, and storage options for both adult and children tools and located in a central area possibly near the outdoor classroom.

Visibility/Safety: There should be clearly defined perimeters for the outdoor classroom and garden areas; a fence may be preferable, with clear lines of sight throughout avoiding potential hiding spaces. If possible, the outdoor classroom should also be visible from points within the school (windows in nearby classrooms, administrative spaces).

Materials: The outdoor classroom should be built with natural materials. If water is being collected from the roof of the outdoor classroom the roofing material must be non-toxic and non-leaching. Strictly limit use of concrete to high traffic areas; if hardscape is required, permeable paving or local stone (that is too heavy to throw) is encouraged. Note that high-grade engineered wood fiber playground surfacing is certified for wheelchair use. Raised beds should be built of a minimum of 2-inch thick wood or non-toxic manufactured wood, not permanent masonry and filled with organic soil/ compost at a 60/40 ratio. Soil should be filled to 4 inches below top of garden bed and 2 inches of organic mulch (shredded hardwood or straw) is placed on top of the soil.  Pressure treated wood, plywood, plastic lumber with wood fibers, tires are strongly discouraged as these products contain toxins that leach into water at dangerous levels. Because teachers need to re-design garden plot locations from time to time as program needs change, garden plots must be re-locatable. Avoid weed cloth as it has little impact on suppressing weeds in the long term and creates maintenance issues.

Outdoor Classroom: The outdoor classroom must be a well-defined shaded space that includes student workstations where teachers can easily engage with each student. An outdoor whiteboard is desirable (flipchart stands stored inside could substitute) and must be situated so that all students can easily read it. Seating can be either fixed or flexible, depending on the site, but should easily accommodate up to 35 students. A teacher demonstration table and student workspaces should be available. If not permanently on site, as with picnic tables, these should be easily portable and on-hand in a storage shed or nearby in the school. The outdoor classroom area may be near a kitchen and/ or science lab.

Plants: Perennial plant material should be chosen based on each specific site condition and with interest in all four seasons. Preference should be given to a variety of native plant species.  The visual unity of the site is less important than the educational value of a broad range of different plants that can be used as teaching examples and that are sustainable in terms of biodiversity and susceptibility to extreme weather, insects and disease. Take care to avoid poisonous plants.

Signage: Educational signage must be placed throughout the garden. Signage must be age-appropriate and student-centered.  Consider writing signs in multiple languages.  Signs should identify elements as well as describe various processes and systems such as:

- Entrance sign with space for posting announcements (highest priority)

- Garden Rules and Procedures

- Native and edible plantings

- Composting systems

- Pollination

- Storm water management

- Soil composition

- Nutrition

- Beneficial Insects

- “Do Not Mow” for in-ground beds near lawns.

Maintenance:  The outdoor classroom should be designed for low maintenance with a specific maintenance plan written for each outdoor classroom and garden area. A maintenance agreement must be signed by the principal, and the school garden coordinator. Planting beds, pollinator garden areas and habitat areas must be very clearly differentiated from lawn areas that require mowing in order to avoid having native plants mistaken for weeds and mowed. Ensure that the irrigation system (if applicable) is simple enough so that the school community can maintain it. Hose bib should be given to the school garden coordinator, building engineer, and principal (three keys total).

Approval: Plans, details and specifications should be submitted to the School Garden Specialist at the Office of the State Superintendent of Education for approval.

DCPS Recycles!

All DCPS schools are required to participate in the recycling program provided by DGS. All modernization projects must be designed to be consistent with the standardized supplies and services described at http://dgs.dc.gov/page/healthy-schools, with the expectation that in the near term future all schools will recycle and compost under this program.

Since each school is different, the DGS recycling program should be consulted regarding the following design considerations. In general, every modernization project is expected to provide

- Adequate, accessible space for pick-up of all serviced containers, usually to include (1) 8 cu yd dumpster OR compactor for paper and cardboard; (2-4) 96 gallon toters for glass/plastic/metals, and (3-10) 36 gallon toters for compostable waste; that is accessible to both front-end loaded and rear-end loaded trucks and allows custodian to easily transport toters to be picked up at ground level. The best configuration of containers will depend on the specifics of the hauling contract, the occupancy of the building and space restrictions. Compactors are not usually recommended for buildings with occupancy less than 500. The dimensions of a standard 8 cu yd side loaded dumpster are 71”x 80”x76” (length x width x height).

- Secure space for storing serviced containers and collection bins with easy access for custodian to roll bins to/from pick up location, and distributed as necessary to facilitate flow of materials throughout the building to the pick-up location.

- Cafeteria and kitchen layout and millwork that supports a logical flow of materials including emptying liquids, sorting waste into three categories (landfill, recycling, compost), and tray return, while avoiding congestion; includes space for changeable signage and labels; is consistent with compost and recycling supplies provided by DGS for cafeterias (accommodates 32-gallon Brute-style bins with wheels); allows for easy access for cleaning by custodians (bottom of the sorting station is the floor); and has countertop holes that accommodate easy dumping of waste using both compostable and reusable trays.

The DGS recycling program provides a standardized set of recycling supplies at no cost to each school, the number and type of bins to be determined according to building characteristics supplied by the project team.

Project teams should also consult with the recycling program regarding providing large, highly visible sorting stations with signage in select high traffic common areas (not in hallways, and not built into the wall); as well as regarding the type and placement of wastebaskets.

Proposed Capacity

| Room Use |
| --- |
| Grade | Number of | Capacity | Total |
|  | Classrooms | (Program) |  |
| 1st Grade | 4 | 22 | 88 |
| 2nd Grade | 4 | 22 | 88 |
| 3rd Grade | 4 | 22 | 88 |
| 4th Grade | 4 | 22 | 88 |
| 5th Grade | 4 | 22 | 88 |
| Total | 21 |  | 440 |

##### Building Space Summary

| Space Summary | Phase 1 | Phase 2 |
| --- | --- | --- |
|  | Total |  |
| Core Academic/Special Education Areas | 24,450 |  |
| Media Center | 3,650 |  |
| Arts and electives | 5,050 |  |
| Physical Education | 0 | 5,350 |
| Administration | 3,380 |  |
| Student Dining & Food Service | As is | 4,500 |
| Maintenance & Custodial Services | As is | 1,220 |
| Mechanical, Electrical, Toilets, Custodial Closets | 17,559 |  |
| Total Net | 54,389 | 11,070 |
| Construction Factor[.08] | 4,459 | 908 |
| Total Gross | 58,848 | 11,978 |

##### Outdoor Area Requirements Summary

Exterior Spaces

Structured Play Area For Primary/Intermediate Grades

Outdoor Paved Play Area

Outdoor Classroom

Green area for garden/environmental programs

Multi-purpose field (shared with DPR)

Faculty, Staff, and Visitor Parking (25-40 spaces)

## Core Academic Area Space Requirements

| Spaces | Suggested | Comments |
| --- | --- | --- |
|  | Quantity | S.F.* | Total |  |
| Grade 1 Classroom | 4 | 900 | 3,600 |  |
| Grade 2 Classroom | 4 | 900 | 3,600 |  |
| Grade 3 Classroom | 4 | 900 | 3,600 |  |
| Grade 4 Classroom | 4 | 900 | 3,600 |  |
| Grade 5 Classroom | 4 | 900 | 3,600 |  |
| Grade level commons | 2-3 | varies | 1,800 | Part of cluster circulation |
| World Language Classroom | 1 | 900 | 900 |  |
| Resource Classroom (Sped) | 2 | 350 | 700 |  |
| Resource Classrooms (Acad.) | 2 | 400 | 800 | Classroom with a dividing wall |
| Offices | 3 | 100 | 300 |  |
| Inst Coaches | 2 | 150 | 300 | May be one room |
| Speech Room/OT/PT | 1 | 250 | 250 |  |
| Special education Suite Office Conference rm. | 1 1 | 150 200 | 350 |  |
| Book Storage Laptop storage | 1 3 | 400 50 | 550 |  |
| Workroom/Teacher Dining | 2 | 250 | 500 |  |
| Total |  |  | 24,450 |  |

Tolerances of + or – 5-15% are acceptable as is the combination of spaces within a suite.  Adjacencies as specified are desirable, but options may be considered and should be reviewed with the planning team.

GRADES 1-5 CLASSROOM 		E-ACA-2

| SIZE: 900 SF CAPACITY: 22-25 students 1 teacher Staff members Guest speakers/volunteers | GOAL: A flexible space to accommodate any of the core academic disciplines PROGRAM ACTIVITIES: Large group instruction Small group instruction and group work Classroom work/lectures Computer instruction Team teaching Oral presentations Group and teamwork activities Testing SPATIAL RELATIONSHIPS: Group classrooms for potential teaming Consider options for locating cubbies between teamed classrooms Locate coat cubbies near door ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Windows to provide natural light and egress Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Reverberation Time: .4-.6 seconds Electrical outlets for equipment Adequate ventilation Proportion classroom for effective viewing and listening from all areas of the classroom Window treatment to darken room for AV presentations |
| --- | --- |

NOTES:

1.	Lose furnishings and features shown represent one of many possible arrangements.

2.	Storage closets should be combined with adjacent Teacher Office/Workroom

3.	Classroom layouts should be opposite hand allowing sinks to be back to back.

GRADES 1-5 CLASSROOM															E-ACA-2

| Spec. Finishes1: Ref.# Flooring: Rubber tile flooring 096519 Base: Resilient base 096519 Ceiling (9’ high minimum): Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000/099123 One tackable wall surface 101100 Loose Furnishings: L1 6 tables or 24 student desks (see Furniture Standards) One kidney/horseshoe table L2 2 computer workstations and 2 chairs – student use (swivel or alternative) L3 Bound carpet rug large enough to seat 24 students L4 Teacher workstation with mobile storage and 2 chairs L5 Four drawer file cabinet or lateral file L9 27 student chairs Communications: Div. 27 Single point ‘face plate’ near teachers work station to include: Voice, data, VGA , audio enhancement, and HDMI 17160 Additional ports: Printer Cable/MATV port 3-5 data ports for student use Electronic white board Clock/PA 2 wireless Electronic Safety and Security: Div. 28 Life safety devices per code | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: 123200 Base/wall cabinets by sink F2 Casework: Student cubbies (28) F3 Casework: Wall shelving over cubbies F4 Marker board (2 walls) 101100 16 LF primary/8 LF secondary F5 Tack board flanking marker boards 101100 Plus two (2) parallel rows of continuous tack strips on all available walls (4 LF or longer) at 30” and 48” AFF F6 Manual projection screen (60”X60”)1152132 F7 Soap dispenser 102800 F8 Towel dispenser 102800 F9 Casework: Wardrobe (18”X18”) 12320 Tall storage cabinet with poster sized door Plumbing: Div. 22 Sink with drinking fountain Plumbing connections HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles 3 per primary teaching wall 2 per other walls TVSS protected quad receptacle adjacent to each data and video port Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Miscellaneous: Div. 27 M1 Projection device on cart or interactive board M3 2 computers for student use (supplement with mobile computing devises) M4 Computer for teacher use Audio enhancement equipment |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

- Delete where a digital white board is installed.

RESOURCE CLASSROOM (Special education)		E-ACA-4

| CAPACITY: Up to 10 students 2 or more staff members SIZE: Varies, see table ANCILLARY SPACES: N/A | GOAL: To provide a safe and comfortable learning environment for students with unique learning challenges PROGRAM ACTIVITIES: Small group work Independent instruction and work SPATIAL RELATIONSHIPS: Located within Academic Core areas Near Storage Ingress/egress to the building which allows for special transportation pick-ups ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Windows to provide natural light and egress Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Reverberation Time: .4-.6 seconds Electrical outlets for equipment Proportion classroom for effective viewing and listening from all areas of the classroom Window treatment to darken room for AV presentation |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

- Orientation of Resource Classroom shall be determined as a result of layout of adjacent classrooms

- Sink shall be located with close proximity to corridor.

RESOURCE CLASSROOM															E-ACA-4

| Spec. Finishes1: Ref.# Flooring: Rubber tile 096519 Base: Resilient base 096519 Ceiling (9’ high minimum): Suspended, acoustical 095113 Walls: Painted concrete masonry units or dry wall 042000/099123 Loose Furnishings: L1 3 student tables with 9 chairs L2 2 computer workstations and chairs L3 Teacher workstation and chair L4 Four-drawer file cabinet or lateral file L6 Adjustable height bookshelves (20 LF) Communications: Div. 27 Single point ‘face plate’ near teachers work station to include: Voice, data, VGA , audio enhancement, and HDMI 17160 Additional ports: Printer 2-3 data ports for student use Electronic white board Clock/PA 1 wireless Miscellaneous: M1 Projection device on cart or Interactive board/table (hung at student height in primary rooms) M3 2 computers for student use (supplement with mobile computing devises) M4 Computer for teacher use | Spec. Features1: Ref.# Fixed Equipment: F3 Marker board (8 LF) 101100 F4 Tack board (8 LF minimum) 101100 F5 Manual projection screen 115213 F8 Casework: Wardrobe 123200 Tall cabinet (optional) Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 none HVAC: Div. 23 Supply/return air system Independent temperature Control Electrical: Div. 26 Duplex receptacles 3 per primary teaching wall 2 per other walls TVSS protected quad receptacle adjacent to each data and video port Fluorescent lighting Illumination level: See Table 7600-16 Multilevel switching 16140 Clock Central sound system Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

RESOURCE CLASSROOM (Other)

| CAPACITY: Up to 20 students Teacher (s) Guest speakers SIZE: 400 SF/each side ANCILLARY SPACES: N/A | GOAL: To provide a flexible space as a resource area for interdisciplinary activities PROGRAM ACTIVITIES: Large and small group instruction and hands-on activities Computerized instruction Team teaching Oral presentations and plays SPATIAL RELATIONSHIPS: Located centrally Near Workroom Near Media Center Moveable wall between sides ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Reverberation Time: .4-.6 seconds Electrical outlets for equipment Comfortable rooms with pleasant décor Proportion classroom for effective viewing and listening from all areas of the classroom Windows to provide natural light and egress, desirable; provide treatment to darken if windows are provided |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

RESOURCE CLASSROOM

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: (9’ high minimum) Suspended, acoustical 095113 Walls: Painted concrete masonry units or dry wall 042000 / 099123 Loose Furnishings: L1 4 rectangular tables L2 24 chairs L4 Teacher workstation and chair L5 Printer table L6 Four-drawer file cabinet L7 Adjustable height bookshelves (24 LF) L8 6-10 computer workstations Communications: Div. 27 T1 10 data ports for student use (5 each side) T2 Voice port and phone T3 Data port near teacher workstation T4 Video port, monitor, VCR/DVD, and brackets T5 Data port for printer Miscellaneous: M1 Printer M2 Projection device on cart Div. 27 M3 Computer for teacher use M4 6-10 computers for student use | Spec. Features1: Ref.# Fixed Equipment: F1 Marker boards (8LF each side) 101100 F2 Tack boards (4 LF each side) 101100 F3 Operable partition, manual 102226 F4 Soap dispenser 102800 F5 Towel dispenser 102800 F6 Manual projection screen 115213 F7 Casework: 123200 Base/wall cabinets and shelving F8 Casework: Wardrobe 123200 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Plumbing connections HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles 3 per primary teaching wall 2 per other walls TVSS protected quad receptacle adjacent to each data and video port Multi-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

COMMONS ACTIVITY AREAS	E-ACA-3

| CAPACITY: 4-25 students 1-2 teachers SIZE: 600-800 SF ANCILLARY SPACES: Grades 1-5 Classroom | GOAL: To provide flexible, shared learning support space for various group sizes and activities PROGRAM ACTIVITIES: Small group learning centers Story telling Team activities Individual activities SPATIAL RELATIONSHIPS: Located within classroom clusters ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 40 Ceiling minimum: CAC 35 Coordinate commons finishes and loose furnishings with corridors Coordinate plumbing/HVAC/ electrical/technology needs with building’s overall technology plan Provide borrowed light for visual supervision from adjacent areas |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

2.	Optional window wall(s) at corridor(s) at 3’-4” A.F.F. to accommodate base cabinets and computer carts at side walls.

COMMONS ACTIVITY AREAS

| Spec. Finishes1: Ref.# Flooring: Rubber 096516 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units or dry wall 042000/099123 One tackable wall surface 101100 Loose Furnishings: TBD | Spec. Features1: Ref.# Fixed Equipment: F2 Marker board (8 LF) 101100 F3 Tack board (8 LF) 101100 F4 Manual projection screen 115213 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 None HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Multilevel switching Duplex receptacles TVSS protected quad receptacle adjacent to each data and video port Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Wireless port Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

ALL OFFICES							M-AC-10

| CAPACITY: Counselors Students and parents Staff ESL instructors Psychologists Social workers SIZE: 80-150 SF GOAL: To provide counseling and other student support services that are easily accessible to students, parents, staff, and the community PROGRAM ACTIVITIES: Counseling for parents and students Administrative paperwork Environment and orientation of new students Office space for itinerant staff | GOAL: To provide counseling and other student support services that are easily accessible to students, parents, staff, and the community PROGRAM ACTIVITIES: Counseling for parents and students Administrative paperwork Environment and orientation of new students Office space for itinerant staff SPATIAL RELATIONSHIP: Within Academic Core areas ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Windows to provide natural light, desirable Auditory privacy Finishes1: Ref.# Flooring: Rubber tile 096516 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116/ 099123 Loose Furnishings: L1 Desk and chair L2 Visitor chairs L3 Small table (optional) L4 Four-drawer file cabinet L5 Adjustable height bookshelves (12 LF) |
| --- | --- |

SPEECH ROOM (other small group rooms)	E-ACA-6

| CAPACITY: 1-3 students 1-2 staff SIZE: 200 SF GOAL: To provide private training for students PROGRAM ACTIVITIES: Group and individual practice Student assessment SPATIAL RELATIONSHIPS: Near Academic Core areas Near Special Needs Classroom | GOAL: To provide private training for students PROGRAM ACTIVITIES: Group and individual practice Student assessment SPATIAL RELATIONSHIPS: Near Academic Core areas Near Special Needs Classroom ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Finishes1: Ref.# Flooring: Carpet 096816 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116/ 099123 Loose Furnishings: L1 Desk and chair L2 Visitor chairs L3 Small table L4 Four-drawer file cabinet L5 Adjustable height bookshelves (12 LF) Wastebasket Spec. Features1: Ref.# Fixed Equipment: F1 Marker board (4 LF) 101100 F2 Tack board (4 LF) 101100 F3 24” x 60” Mirror 088000 F4 Casework: Base/wall cabinet 123200 F5 Soap dispenser 102800 F6 Towel dispenser 102800 |
| --- | --- |

WORKROOM/TEACHER COLLABORATION	E-ACA-12

| CAPACITY: Teachers Teachers' assistants Volunteers ANCILLARY SPACES: Staff Restroom Storage GOALS: To provide a space where adults can meet for committee work To provide a space where teachers can perform administrative work To provide a space for storage of grade-level materials PROGRAM ACTIVITIES: Team staff meetings Lesson planning and grading Scheduling appointments Record keeping Develop and review teacher materials Miscellaneous: M2 Networked Printer (all classrooms will print to a workroom location) Photocopy machine | SPATIAL RELATIONSHIPS: Near Academic Core classrooms This area should be divided among the different floor levels Access to Staff Restroom(s) from within Workroom/Teacher Office ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Adequate ventilation Electrical outlets for equipment Window to provide natural light, desirable Finishes1: Ref.# Flooring: Rubber tile flooring 096519 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000/099123 Loose Furnishings: L1 2 Tables L2 Computer workstation furniture L3 8 task chairs L5 Printer table Communications: Div. 27 T1 Video port, monitor, and brackets T2 Voice port and phone T3 Data port near workstation T4 Data port at printer Spec. Features1: Ref.# Fixed Equipment: F1 Casework: 123200 Base cabinets (w/sink) Wall cabinets/shelving F2 Tack board (4 LF) 101100 F3 Casework: 123200 Deep storage for poster board F4 Towel dispenser 102800 F5 Soap dispenser 102800 |
| --- | --- |

MEDIA CENTER

| Spaces | Qty. | S.F. | Total | Comments |
| --- | --- | --- | --- | --- |
| Reading/Learning/Circulation | 1 | 1,800 | 1,800 |  |
| Computer Project Lab | 1 | 900 | 900 | Laptop lab with movable wall into reading room (flexible seating for 25 – see staff for layout) |
| Media Production | 1 | 400 | 400 |  |
| Office/Workroom | 1 | 250 | 250 |  |
| Storage | 1 | 200 | 200 |  |
| Telecom Head End Room | 1 | 100 | 100 |  |
| Total |  |  | 3,650 |  |

Comments:  Spaces within the Media suite may vary up to 15% and may be combined to facilitate circulation and supervision.  The overall square footage may be + or – 15%.

READING / LEARNING / CIRCULATION AREA	E-MC-1

| CAPACITY: 50 students 2 teachers 1 media specialist Community patrons after school hours GOAL: To provide students, staff and community with access to information and quiet study areas To provide a place for on-line testing PROGRAM ACTIVITIES: Independent Reading Circulation of materials and resources including online catalogs Large group and small group instruction Provide meeting areas Research Dramatic reading and storytelling | SPATIAL RELATIONSHIPS: Three activity areas: Storytelling area (steps or sunken area if feasible) Interactive and small group areas with interactive board Relaxed reading area with comfortable seating options Information desk with book drop-off located close to entrance and near office/workroom Locate standing card catalog station next to information desk Good sight lines to all ancillary spaces Permanent stacks on the periphery with some short shelving to divide activity areas Mobility for all free standing furniture including book shelves ENVIRONMENTAL CONSIDERATIONS: Recessed floor (data and duplex) outlets in floor at tables Adequate ventilation Lighting appropriate to task with switches to dim separate zones of Media Center Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Electrical outlets at entrance for future security system Electrical outlets at all column locations Widows to provide natural light Security of school when center is in use after school hours Ceiling height in proportion to room dimensions Open flow for traffic in reference/professional/periodical areas Electrical outlets in toe space of wall shelving Window treatment to darken room for AV presentation |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

2.	Freestanding book stacks shall be 42” high.  Book stacks against the wall may be 60” to 84” high.  Coordinate with other equipment and windows.

READING / LEARNING / CIRCULATION AREA 	                                                           E-MC-1

| Spec. Finishes1: Ref.# Flooring: Carpet 096816 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 8, four-person tables (different heights) L2 Automated card catalog stations L3 42 chairs (different heights) L4 10 research stations L5 Printer table Soft seating for 8 Low book shelving on casters Miscellaneous: M1 Black and white printer M3 Bar code reader M4 Photocopy machine M5 Digital scanner M6 10 computers for student use M7 2 computers for reference M8 Computer for staff use | Spec. Features1: Ref.# Fixed Equipment: F1 Library casework (see furniture standards) for 1,000 linear ft. per 15,000 vol. F2 Motorized projection screen 115213 F3 Marker board (8 LF) 101100 F4 Display cases 123559 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data and video port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Means of egress lighting per code Central sound system Floor boxes (electrical/data) throughout reading room for flexible loose furnishings layout Communications: Div. 27 T1 Video port T2 Voice port and phone T3 2 data ports at circulation desk T4 10 data ports for student use T5 Data ports for printer T6 Data port for automated data card cat Cable/MATV port Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

MEDIA PRODUCTION

| CAPACITY: 10 students Staff GOALS: To provide flexible space as a resource area for newspaper production and special projects To provide a central location for one-of-a-kind production equipment PROGRAM ACTIVITIES: Writing and developing layouts using computer technology Printing Proofreading Copying Scanning Editing and layout | SPATIAL RELATIONSHIPS: Located in Media Center suite ENVIRONMENTAL CONSIDERATIONS: Uniform lighting with an appropriate task level lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Adequate ventilation Fixed Equipment: F1 Casework: Base cabinets with workable surface F2 Marker board (8 LF on two walls) F3 Tack board (8 LF) F4 Manual projection screen Loose Furnishings: L1 4-8 computer workstations and swivel or alternative chairs L2 4, four-drawer file cabinets or lateral file L3 Printer table L4 Work Table Miscellaneous: M1 Printer (color) M2 4-8 computers M3 Scanner M4 Copier Communications: T2 1 voice port and phone T3 Wireless access T4 Data port for printer T5 Data port for scanner T6 Data port for copier |
| --- | --- |

NOTES:

1.		Loose furnishings and features shown represent one of the many possible arrangements.

TELECOM HEAD END ROOM														E-MC-5

| SIZE: 200 SF Location to be determined | GOALS: To provide a secure area to serve as the information hub of the school. File servers will serve the building computer network To provide satellite up and down links that will send and receive voice, video, and data Location of cable TV input and output All areas of the school are to be wired to this area PROGRAM ACTIVITIES: Voice, video, data reception, and distribution Security system location Network management Telephone wiring entry and distribution Cable and CCTV reception and broadcasting SPATIAL RELATIONSHIPS: May also be located in the Administration Area Adjacent to and access to Reading/ Learning/Circulation Area Could be accessed from workroom in lieu of Reading/Learning/Circulation Area Additional access from corridor ENVIRONMENTAL CONSIDERATIONS: Adequate power supply will be required and auxiliary UPS power for back-up (Quality of power is important.) Dedicated electrical circuitry Air conditioning dedicated to this space Adequate ventilation Access to ceiling and walls for modification to systems and wiring Security of door |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

TELECOM HEAD END ROOM														E-MC-5

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 6-8 technology racks L2 Workstation L3 Ergonomic task chair | Spec. Features1: Ref.# N/A Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent, packaged system Electrical: Div. 26 Duplex receptacles Quad receptacles for electronic systems Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Communications: Div. 27 T1 Data network system T2 Voice port and phone T3 Telephone switchgear T4 Video network control T5 Satellite dish connection T6 Satellite/cable system controls 17430 Access Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Computer |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

COMBINED OFFICE / WORKROOM						E-MC-6

| CAPACITY: Media specialists SIZE: Varies, see table ANCILLARY SPACES: Reading/Learning/Circulation Area (E-MC-1) | GOAL: To provide a less visible and secure space for processing incoming materials and storage of materials PROGRAM ACTIVITIES: Storage of materials Storage of A/V materials and videotapes Scanning Digitizing SPATIAL RELATIONSHIPS: Adjacent to and access to Reading/Learning/Circulation Area Adjacent to and access to Office Adjacent to and access to Media Production Area Located behind circulation desk and whole class zone ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Auditory privacy |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

COMBINED OFFICE / WORKROOM

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Work table L2 Computer workstation L3 Chair L4 Adjustable height bookshelves L5 Four – drawer file cabinets | Spec. Features1: Ref.# Fixed Equipment: F1 Storage shelving 105613 F2 Casework: Tall cabinet (24” deep) 123200 F3 Poster/map storage 123200 F4 Casework: Base cabinets with power 123200 Fire Suppression: Div. 21 Fire suppression system Plumbing: Plumbing for sink HVAC: Div. 23 Supply/return air system Div. 15 Electrical: Div. 26 Duplex receptacles At casework island TVSS protected quad receptacle adjacent to each data port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Voice port and phone T2 Data port Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Printer M2 2 computers |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

VISUAL AND PERFORMING ARTS AND ELECTIVE LABS

| Spaces | Suggested | Comments |
| --- | --- | --- |
|  | Qty. | S.F. | Total |  |
| Visual Arts Lab | 1 | 1000 | 1000 |  |
| Kiln Room | 1 | 75 | 75 |  |
| Storage | 1 | 125 | 125 |  |
|  |  |  | 0 |  |
| General Music Room | 1 | 1000 | 1000 |  |
| Instrument storage | 1 | 150 | 150 |  |
|  |  |  | 0 |  |
| Science Classroom | 1 | 900 | 900 |  |
| Food Prints | 1 | 900 | 900 |  |
| Computer Instructional Lab | 1 | 900 | 900 |  |
| Total |  |  | 5050 |  |

Comments : The overall total for the Instructional area may be + or – 15%.

VISUAL ARTS SPATIAL RELATIONSHIPS

ART LAB	E-VA-1

| CAPACITY: 20-24 students 1 teacher Student teacher Parent volunteers Student volunteers SIZE: Varies, see table ANCILLARY SPACES: Kiln Room (E-VA-3) Art Storage (E-VA-2) SPATIAL RELATIONSHIPS: Centrally located with convenient access to Core Academic classrooms Direct access to art patio – with overhang Adjacent and access to Kiln Room | GOALS: To provide an area for students to work on a variety of art projects and to have positive experiences, which include developing confidence, commitment, and a sense of accomplishment To explore the manipulation of a variety of materials To develop technical and expressive skills To become aware of and be able to articulate thoughts about art and its reflection of other societies, cultures, and times To provide clean, adequate space in which to store art supplies and student projects PROGRAM ACTIVITIES: Drawing, painting, and print making Sculpture, model-making, collage, and assembly Ceramics-clay (age appropriate) Computer graphics and mixed media work Guest artist lectures Demonstrations Viewing prints/slides/movies/art videos Research, reading, and writing Individual and cooperative group work Storage of supplies, projects, and small equipment ENVIRONMENTAL CONSIDERATIONS: Uniform lighting/track and display lighting Windows to provide natural light and egress, preferably northern exposure Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Include outlets on the wall above counter spaces in raceway Electrical outlets for equipment Provide one ceiling hung, retractable electrical outlet Window treatment to darken room for AV presentation as required |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

ART LAB																			E-VA-1

| Spec. Finishes1: Ref.# Flooring: Quartz tile 096618 Base: Resilient base 096519 Ceiling (12’ high minimum to underside of deck): Exposed structure, painted 099123 with acoustical treatment 098400 Walls: Painted concrete masonry units or dry wall One tackable wall 042000 / 099123 Loose Furnishings: L1 Art tables for 26 students (discuss with staff) L2 26 Student stools L3 Teacher workstation and chair L4 2 computer (laptops) tables and chairs L6 1, four-drawer file cabinet L10 Adjustable height shelves (24 LF) for drying 3D objects L11 Drying rack (40-80 slats) Flat storage (10 drawers) Communications: Div. 27 Single point ‘face plate’ near teachers work station to include: Voice, data, VGA , audio enhancement, and HDMI 17160 Additional ports: Printer 3 data ports for student use Electronic white board Clock/PA 2 wireless Miscellaneous: M1 Interactive white board Div. 27 M2 2-3 computers for student use M3 Computer for teacher use Audio enhancement equipment Document camera | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: 30” high base/wall cabinets near sinks 123200 Paper storage cabinets F2 Marker board 101100 16 LF primary F5 Tack board flanking marker board Plus two (2) parallel rows of continuous tack strips on all available walls (4 LF or longer) at 30” and 48” AFF F6 Manual projection screen (60”X60”)1152133 F5 Soap dispenser (at each sink) 102800 F6 Towel dispenser (at each sink) 102800 F7 Casework: Wardrobe 123200 F8 Display cases Plumbing: Div. 22 Sinks with solids interceptor 2 large, deep sinks 6’ apart Plumbing connections HVAC: Div. 23 Supply/return air system Independent temperature control Manually controlled general exhaust Electrical: Div. 26 Duplex receptacles 3 per primary teaching wall At least 2 per other walls TVSS protected quad receptacle adjacent to each data port Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Display/track lighting |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

ART STORAGE	E-VA-2

| CAPACITY: 1 teacher SIZE: 150 SF ANCILLARY SPACES: Art Lab (E-VA-1) | GOAL: To provide lockable storage for art supplies, portable equipment, technology, peripherals, and materials PROGRAM ACTIVITIES: Storage of equipment and supplies SPATIAL RELATIONSHIPS: Direct access to Art Lab Visual access from Art Lab ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Electrical outlets for equipment |
| --- | --- |

# KILN ROOM	E-VA-3

| CAPACITY: 1-2 persons SIZE: 100 SF ANCILLARY SPACES: Art Lab (E-VA-1) | GOALS: To provide an area properly equipped for ceramics To provide a space to fire and store completed art work PROGRAM ACTIVITIES: Store 3D sculptural work House kiln equipment SPATIAL RELATIONSHIPS: Adjacent and access to Art Lab ENVIRONMENTAL CONSIDERATIONS: Ventilation controlled by a thermostat Adequate ventilation with vents to the outside for kiln Electrical outlets for equipment Lighting appropriate to task Consider safety in plumbing room layout |
| --- | --- |

GENERAL MUSIC ROOM	E-MU-1

| CAPACITY: 20-24 music students 1 teacher Parents/volunteers ANCILLARY SPACES: Music Storage (E-MU-2) GOAL: To provide students with the opportunity develop skills in music through large group, ensemble, and solo experiences PROGRAM ACTIVITIES: Listen, analyze and describe music Choral, speech, theatrics Miscellaneous: M1 Projection device on cart Div. 27 M2 2 computers for student use M3 Computer teacher use M4 MIDI synthesizer M5 A/V recording/playback equipment Finishes1: Ref.# Flooring: Carpet 096816 Base: Resilient base 096519 Ceiling(10’ high minimum): Suspended, acoustical 095113 Walls: Painted concrete masonry units | ENVIRONMENTAL CONSIDERATIONS: Uniform lighting/Theatrical lighting Environmental sound control: Wall minimum: STC 50 Ceiling minimum: CAC 35 Sound insulation in walls (extended above ceiling to underside of deck) Acoustical wall treatments Electrical outlets for equipment Adequate ventilation Drinking fountain in or adjacent classroom Loose Furnishings: L1 2 computer workstations and chairs L2 Portable choral risers with rails L3 Mobile A/V cabinet L4 27 music posture chairs L5 Conductor podium, chair and stand L6 Teacher desk and chair L7 Upright piano L9 Four-drawer file cabinet L10 Adjustable height bookshelves (24LF) Instrument storage (varied sizes) L11 Multimedia cart for teacher use Communications: Div. 27 Single point ‘face plate’ near teachers work station to include: Voice, data, VGA , audio enhancement, and HDMI 17160 Additional ports: Printer 3-5 data ports for student use Electronic white board Clock/PA 2 wireless Spec. Features1: Ref.# Fixed Equipment: F1 Casework: Paper storage cabinets 123200 F2 Marker board (16 LF) 1/2 with music staff bars 101100 F3 Tack board 101100 F4 Manual projection screen 115213 F5 Casework: Wardrobe 123200 F6 Casework: Sink cabinet 123200 |
| --- | --- |

GENERAL MUSIC STORAGE	E-MU-2

| CAPACITY: Students Teachers SIZE: 150 SF ANCILLARY SPACES: General Music Room (E-MU-1) | GOAL: To provide adequate storage for accessories, and instruments PROGRAM ACTIVITIES: Storage and simple repair of accessories and instruments SPATIAL RELATIONSHIPS: Adjacent and access to General Music Room ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Electrical outlets |
| --- | --- |

GENERAL MUSIC STORAGE															E-MU-2

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 | Spec. Features1: Ref.# Fixed Equipment: F1 Storage shelving: 12" deep 105613 F2 Instrument storage (see furniture standards) Fire Suppression: Div. 21 Fire suppression system HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system |
| --- | --- |

PROJECT LAB / SCIENCE LAB  	E-ACA-14

| CAPACITY: 20-24 students 1-2 staff SIZE: 900 SF GOAL: To provide a place for students learn about natural and biological science PROGRAM ACTIVITIES: Direct instruction Plant and animal centers Student projects Cooperative learning groups Student display ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Windows to provide natural light and egress Window treatment to darken room for AV presentation Proportion classroom for effective viewing and listening from all areas of the classroom Spec. Finishes: Ref.# Flooring: Quartz tile 096618 Base: Resilient base 096519 Ceiling (9’ high minimum): Suspended, acoustical 095113 Walls: Painted concrete masonry units or dry wall 042000/ 099123 | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: Base/wall cabinets and shelving (attention to height constraints); acid resistant countertops F3 Casework: Wall shelving (24 LF- H 30-32”) F4 Marker board (2 walls) 16 LF primary/8 LF secondary F5 Tack board flanking marker boards Plus two (2) parallel rows of continuous tack strips on all available walls (4 LF or longer) at 30” and 48” AFF F6 Manual projection screen (60”X60”) F8 Casework: Wardrobe Plumbing: Div. 22 Plumbing connections 3-4 peripheral sinks, single/deep bowl with solids interceptors Electrical: Div. 26 Duplex receptacles- 3 per primary teaching wall At least 2 per other walls Duplex outlets above countertop Multilevel switching Clock Communications per regular classroom Loose Furnishings: L1 12 two-person science tables with acid resistant surfaces L2 24-30 chairs L3 2-3 computer workstation furniture L5 Teacher desk and chair L8 Four-drawer file cabinet L9 Adjustable bookshelves (24 LF) |
| --- | --- |

NOTES:

- Casework countertop at sink wall(s) shall be 30” deep with a 6” plumbing chase for services.  No plumbing shall be in exterior wall

FOOD PRINTS LAB	E-ACA-14

| FoodPrints is an educational program that integrates gardening, cooking, and nutrition education into the curriculum at five DC Public Schools. Utilizing organic vegetable gardens, healthy and delicious recipes, and hands-on projects, educators get elementary school students excited about growing, preparing, and enjoying real food. Using fresh produce children learn to create delectable meals from nutritious ingredients. The current lab was financed and installed through active participation from the PTA. If relocated, the equipment should be relocated or replaced in-kind. CAPACITY: 20-24 students 2-4 staff SIZE: 900 SF (including closet) ANCILLARY SPACES: Access to gardens | PROGRAM ACTIVITIES: Direct instruction Student and class projects Cooperative learning groups Student display Cooking demonstrations SPATIAL RELATIONSHIPS: Direct access to the learning garden Near outdoor classroom ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Windows to provide natural light and egress Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Reverberation Time: .4-.6 seconds Window treatment to darken room for AV presentation Proportion classroom for effective viewing and listening from all areas of the classroom Interior windows |
| --- | --- |

NOTES:

- Casework countertop at sink wall(s) shall be 30” deep with a 6” plumbing chase for services – student height. No plumbing shall be in exterior wall

FOOD PRINTS LAB  														E-ACA-14

| Spec. Finishes: Ref.# Flooring: Quartz tile 096618 Base: Resilient base 096519 Ceiling (9’ high minimum): Suspended, acoustical 095113 Walls: Painted concrete masonry units or dry wall 042000/ 099123 One tackable wall surface 101100 Loose Furnishings: L1 6 four-person tables L2 24 chairs Communications: Div. 27 Per regular classroom | Spec. Features: Ref.# Fixed Equipment: Casework: Peripheral base cabinets and shelving (varying heights for all age groups) Roll-out drawers Casework: Lockable food storage Tackable walls Demonstration kitchen on island: Dishwasher, oven, microwave, refrigerator/freezer, cooktop Marker board (2 walls) 16 LF primary/8 LF secondary Tack board flanking marker boards Plus two (2) parallel rows of continuous tack strips on all available walls (4 LF or longer) at 30” and 48” AFF Teacher’s wardrobe Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Sinks with solids interceptor Demonstration kitchen 2 Student height with access from two sides Plumbing connections for appliances HVAC: Div. 23 Supply/return air system Independent temperature control Hood vent Electrical: Div. 26 Duplex receptacles: 3 per primary teaching wall At least 2 per other walls Continuous raceway above countertop Multilevel switching Clock Central sound system Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

COMPUTER LAB	E-MC-2

| CAPACITY: 24-26 students 2 teachers SIZE: Varies, see table | GOAL: To provide a place for computer instruction To provide for on-line testing ENVIRONMENTAL CONSIDERATIONS: Uniform lighting with an appropriate visual comfort level Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 40 Acoustically improved entry door Electrical outlets for equipment Near media center |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

COMPUTER LAB	E-MC-2

| Spec. Finishes1: Ref.# Flooring: Carpet 096816 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Windows/sidelites: Security glass 088000 Loose Furnishings: L1 Adjustable height bookshelf (12 LF) L2 26 chairs (swivel) L3 26 computer tables L4 Printer tables L5 Work tables (optional) L6 Tables for scanners and other equipment L7 Teacher desk and chair 4 drawer file cabinet Miscellaneous: M1 Digital scanners M3 26 computers for student use M4 Printer M6 Computer for teacher use | Spec. Features1: Ref.# Marker board (2 walls) 16 LF primary/8 LF secondary Tack board flanking marker boards Plus two (2) parallel rows of continuous tack strips on all available walls (4 LF or longer) at 30” and 48” AFF Teacher’s wardrobe Fire Suppression: Div. 21 Fire suppression system HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data port Multilevel switching Fluorescent lighting with parabolic lenses Central sound system Communications: Div. 27 T2 Voice port and phone T3 15 data ports (minimum) for student use in raceway T4 Data ports for printer T6 Data ports for scanners Wireless ports Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

PHYSICAL EDUCATION (Phase 2)

| Spaces | Qty. | S.F. | Total | Comments |
| --- | --- | --- | --- | --- |
| Assembly/PE Space | 1 | 3,600 | 3,600 |  |
| Office | 2 | 150 | 300 | PE teacher and DPR |
| Storage | 3 | 200 | 600 |  |
| Stage | 1 | 850 | 850 |  |
| Total |  |  | 5,350 |  |

Comments:

ASSEMBLY/PE SPACE	E-PE-1

| CAPACITY: 24-50 students per class Teacher Parents and community members for meetings ANCILLARY SPACES: P.E. Office (E-PE-2) P.E. Storage (E-PE-4) Student storage in lobby adjacent to PE area | GOALS: To provide space for P.E. classes to meet To provide space for students to present performances PROGRAM ACTIVITIES: Athletic skills and leader games Adaptive physical education Student assemblies and programs Lectures/Teaching Community use SPATIAL RELATIONSHIPS: Near public restrooms, with easy access Access to outdoor physical education play areas Near visitor parking Located with easy access to rest of school, but must be able to close off area for security during evening activities Adjacent and access to P.E. Office Adjacent and access to P.E. Storage ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 50 Adequate sound control/acoustics Clear height of 20' from floor to nearest obstruction Electrical outlets for equipment Drinking fountain in adjacent area Structure, lighting, and ducts designed not to trap P.E. balls Ceiling heights should be proportional to room volume |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

2.	This size space will accommodate 1/2 basketball court

ASSEMBLY/PE SPACE																	E-PE-1

| Spec. Finishes1: Ref.# Flooring: Wood strip flooring for athletic 096466 applications or Resilient athletic flooring 096566 Base: Vented resilient base 096466 Ceiling: Painted exposed structure 099923 on acoustical deck Walls: Painted concrete masonry units 042000 + 099123 Acoustical wall treatment 098400 And/or sound absorbing concrete masonry units 042000 Communications: Div. 27 T1 Video/cable/MATV port T2 Voice port and phone T3 Microphone port T4 Intercom T5 Outside microphone ports/portable System (wireless mics) T6 Data port Jacks for sound system Electronic Safety and Security: Div. 28 Life safety devices per code | Spec. Features1: Ref.# Fixed Equipment: F1 Basketball backstops, adjustable height (ceiling hung) 116600 F2 Curtain to divide in half 102226 White board in two locations with electrical outlet Fire Suppression: Div. 21 Fire suppression system Plumbing: Drinking fountain in lobby (two heights) HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles Electrical connections to P.E. equipment where necessary Single-level switching High intensity discharge lighting Illumination level: See Table 7600-16 Means of egress lighting per code Clock Central sound system Gymnasium sound system Provide wire guards on light fixtures and electrical devices |  |
| --- | --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

P.E./DPR OFFICE	E-PE-2

| CAPACITY: 1-2 teachers Student teachers SIZE: 250 SF GOAL: To provide a work area for physical education faculty and staff to conduct administrative duties | PROGRAM ACTIVITIES: Ordering Scheduling Planning Maintaining records Meetings SPATIAL RELATIONSHIP: Adjacent and access to Gymnasium Near restrooms ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Electrical outlets for equipment Windows to provide natural light, desirable Auditory privacy |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

P.E. OFFICE

E-PE-2

| Spec. Finishes1: Ref.# Flooring: Office: Resilient tile flooring 096519 Toilet: Ceramic tile 093013 Base: Office: Resilient base 096519 Toilet: Ceramic tile base 093013 Ceiling: Acoustical, suspended 05113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Amin. workstation L2 Four-drawer file cabinet L4 Ergonomic task chair L5 Adjustable height bookshelves (12 LF) | Spec. Features1: Ref.# Fixed Equipment: F1 Tack board (4 LF) 101100 F2 Towel dispenser 102800 F3 24” x 60” mirror 102800 F4 Toilet tissue holder 102800 F5 36” and 42” grab bars 102800 F6 Soap dispenser 102800 F7 ADA shower accessories 102800 F8 Coat hook 102800 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Plumbing connections Wall mounted lavatory Wall mounted water closet Shower Floor drains - in restroom and shower HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles Single-level switching TVSS protected quad receptacle adjacent to data port Fluorescent lighting 16500 Illumination level: See Table 7600-16 Central sound system Communications2: Div. 27 T1 Voice port and phone T2 Data port near teacher workstation T3 Data port for printer Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

P.E. AND CHAIR STORAGE															E-PE-4

| CAPACITY: 1-2 teachers Student teachers SIZE: Varies, see table | GOAL: To provide convenient storage for all physical education equipment PROGRAM ACTIVITIES: Storage for PE Storage for DPR equipment Storage for chairs SPATIAL RELATIONSHIPS: Adjacent and access to Assembly/PE ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Leave space below shelving on one wall for portable bins |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

P.E. AND STORAGE

E-PE-4

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: Exposed structure, painted 099123 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Tumbling mats L2 Ball bins L3 Play equipment Folding chairs and dollies | Spec. Features1: Ref.# Fixed Equipment: F1 Storage shelving: 105613 12" deep F2 Storage shelving: 105613 18" deep F3 Pegboard (4 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

STAGE

| CAPACITY: Students Teachers Parents/volunteers Members of the community GOAL: To provide a space for student performances and assemblies | PROGRAM ACTIVITIES: Theatrical/musical productions Conferences, student assemblies, and award programs SPATIAL RELATIONSHIPS: Near music classrooms ENVIRONMENTAL CONSIDERATIONS: Environmental sound control Wall minimum: STC 56 Roof minimum: STC 40 Provide sufficient wings space for productions Specialty track lighting for Stage |
| --- | --- |

NOTES:

STAGE

| Spec. Finishes1: Ref.# Flooring: Wood flooring2 096466 Base: Ventilated resilient base 096466 Ceiling: Painted exposed structure 099123 Walls: Painted concrete masonry units 042000 / 099123 | Spec. Features: Ref.# Fixed Equipment: F1 Theater and stage equipment 116143 F2 Motorized projection screen 115213 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles 12" o.c. on back and wing walls 3 duplex outlets in apron at front of stage TVSS protected quad receptacle adjacent to each data port Single-level switching General purpose lighting Stage dimming system House lighting Illumination levels: See table 7600-16 Clock Auditorium sound system Provide outlet in apron at front of stage Communications: Div. 27 T1 2 data ports on stage T2 Voice port and telephone T4 Microphone port T5 Jacks for sound system T6 Video port, monitor, VCR/DVD, and bracket Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

- Provide hardwood on forestage and extend into stage at width of proscenium by 10'-20' deep.

ADMINISTRATION

| Spaces | Suggested | Comments |
| --- | --- | --- |
|  | Qty. | S.F. | Total |  |
| Lobby/Gathering area | 1 | 500 | 500 |  |
| Welcome Center | 1 | 400 | 400 | Welcoming Area, Work area for Administrative Asst. |
| Security Area w/ locking storage | 1 | 75 | 75 |  |
| Conference Room | 1 | 200 | 200 |  |
| Principal and AP, Dean, Business Offices | 5 | 120 | 600 | See staff for locations |
| Administrative Workroom/mailroom | 1 | 250 | 250 |  |
| Records Room | 1 | 150 | 150 | Needs to be a secure space. |
| Toilet | 1 | 50 | 50 |  |
| Student Services (Counselor) | 1 | 150 | 150 |  |
| Health Suite |  |  | 0 |  |
| Office | 1 | 100 | 100 |  |
| Treatment Area/waiting | 1 | 180 | 180 |  |
| Cots | 1 | 150 | 150 |  |
| Storage | 1 | 25 | 25 |  |
| Toilet | 1 | 50 | 50 |  |
| Staff Lounge | 1 | 500 | 500 | Includes staff toilet with shower. |
| Total |  |  | 3380 |  |

Comments: The overall total for the administration area may be + or – 15%.  Some areas may be combined to facilitate circulation.  Some areas (*) may be located outside of the suite to make the best use of the existing building.

WELCOME CENTER	E-AD-1

| CAPACITY: Administrative assistants Visitors/parents Students SIZE: Varies, see table ANCILLARY SPACES: N/A | GOAL: To provide a space designed to help students and the public feel welcome and to provide easily accessed information PROGRAM ACTIVITIES: Greeting visitors Waiting for students or staff Student waiting/pick up area 2 Workstations for administrative assistants SPATIAL RELATIONSHIPS: Located inside the main Administrative Area Centrally located to Administrative Area Near public restrooms Maximize view to the exterior and main entry ENVIRONMENTAL CONSIDERATIONS: Uniform lighting, areas of soft lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Adequate ventilation Electrical outlets for equipment Administrative area should be mechanically zoned for year round use. Windows to provide natural light |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

WELCOME CENTER

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 2 ergonomic task chairs L4 4-6 guest chairs Miscellaneous: M1 Fax M2 printer M4 2 computers M5 Table lamps | Spec. Features1: Ref.# Fixed Equipment: F1 Finish carpentry Reception counter 064123 F2 Tack board (8 LF) 101100 F3 Closet shelving 064123 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Communications: Div. 27 T1 2 voice port and phone at workstations T2 Fax port T4 data ports for printer T6 Data port near each workstation Cable/MATV port Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

SECURITY AREA	E-AD-2

| CAPACITY: Security officer SIZE: Varies, see table ANCILLARY SPACES: N/A | GOAL: To serve as a check-in and checkpoint for non-school visitors PROGRAM ACTIVITIES: Check-in/out visitors Monitor main entrance to school Workstation for security office SPATIAL RELATIONSHIPS: Adjacent to main entry ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 |
| --- | --- |

NOTES:

Loose furnishings and features shown represent one of many possible arrangements.

SECURITY AREA

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Admin workstation L2 Ergonomic task chair | Spec. Features1: Ref.# Fixed Equipment: N/A Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Fire protection system HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data and video port Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Voice port and phone T2 Data port Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Computer |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references

CONFERENCE ROOM								E-AD-3

| CAPACITY: Staff Students Parents Visitors SIZE: 200 SF ANCILLARY SPACES: Principal’s Office (E-AD-4) | GOAL: To provide a place for administrative conferences or meetings PROGRAM ACTIVITIES: Conferences with staff, students, parents, and visitors SPATIAL RELATIONSHIPS: Near Welcome Center Centrally located within Administrative Area Adjacent and access to Principal’s Office ENVIRONMENTAL CONSIDERATIONS: Uniform lighting, appropriate to task Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 40 Electrical outlets for equipment Windows to provide natural light, desirable Auditory privacy |
| --- | --- |

NOTES:

Loose furnishings and features shown represent one of many possible arrangements.

CONFERENCE ROOM																E-AD-3

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 Conference table (with table technology installations (VGA jacks, data outlets, power outlets, etc.) L2 12 chairs | Spec. Features1: Ref.# Fixed Equipment: F1 Marker board (8 LF) 101100 F2 Casework: Base/wall cabinets (6 LF) 123200 F3 Manual projection screen 115213 F4 Tack board (8 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data and video port Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Video port, monitor and bracket T2 Voice port and phone Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Under counter refrigerator |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

PRINCIPAL’S OFFICE	E-AD-4

| CAPACITY: Principal SIZE: 180 SF ANCILLARY SPACES: Conference Room (E-AD-3) | GOAL: To provide an office for the principal to give instructional leadership in a personal and organized environment for students, staff, and community PROGRAM ACTIVITIES: Conferences with students, parents, teachers, staff, and visitors Curriculum development Research and planning Telephone communications Dealing with personnel issues Coordination of school and support services SPATIAL RELATIONSHIPS: Near main entry Near administrative assistant Adjacent and access to Conference Room ENVIRONMENTAL CONSIDERATIONS: Uniform lighting, appropriate to task Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Electrical outlets for equipment Windows to provide natural light One area should be especially child-scaled and friendly for working with individual children Auditory privacy Back door to secondary corridor, desirable |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

PRINCIPAL’S OFFICE

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Base: Resilient 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 Desk L3 Ergonomic task chair L4 Adjustable height bookshelves (12 LF) L5 Four-drawer file cabinet L6 Conference table L7 4-6 chairs Miscellaneous: M1 Printer M2 Computer | Spec. Features1: Ref.# Fixed Equipment: F1 Tack board (4 LF) 101100 F2 Towel dispenser 102800 F3 24” x 60” mirror 102800 F4 Toilet tissue holder 102800 F5 36” and 42” grab bars 102800 F6 Soap dispenser 102800 Wall mounted coat rack/shelf Fire Suppression: Div. 21 Fire suppression system Plumbing: Toilet area HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles 2 outlets per wall minimum TVSS protected quad receptacle adjacent to each data and video port Single-level switching Fluorescent lighting Central sound system Communications: Div. 27 T1 Voice port and phone T2 Data port near workstation T3 Data port for printer Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

ASSISTANT PRINCIPAL’S /BUSINESS OFFICE					E-AD-5

| CAPACITY: Assistant Principal SIZE: 120 SF ANCILLARY SPACES: N/A | GOAL: To provide an office for the assistant principal to perform administrative functions PROGRAM ACTIVITIES: Conferences with parents Student interaction Conferences with individual teachers or small groups Telephone communications (private) Research and planning Coordination of school and support services SPATIAL RELATIONSHIPS: May be located near Academic Core for supervision May be located near administration suite ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Electrical outlets for equipment Windows to provide natural light Auditory privacy |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements

ASSISTANT PRINCIPAL’S/BUSINESS OFFICE

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 Admin workstation L2 2 visitor chairs L3 Ergonomic task chair L4 Adjustable height bookshelves (12 LF) L5 Four-drawer file cabinet L6 Round table | Spec. Features1: Ref.# Fixed Equipment: F1 Tack board (4 LF) 101100 F2 Casework: Wardrobe 103200 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles 2-Outlets per wall minimum TVSS protected quad receptacle adjacent to data and video port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system 16823 Communications: Div. 27 T1 Voice port and phone T2 2 data ports T3 Data port for printer Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Printer M2 Computer |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

ADMINISTRATIVE WORKROOM	E-AD-7

| CAPACITY: Secretaries and Administrators Volunteers Staff SIZE: Varies, see table ANCILLARY SPACES: Mail Room (E-AD-8) | GOAL: To provide an area for office production activities PROGRAM ACTIVITIES: Copying Collating Sorting of files Preparing communications for mailing Binding reports Telephone communications SPATIAL RELATIONSHIPS: Near Welcome Center Adjacent to Mail Room ENVIRONMENTAL CONSIDERATIONS: Uniform lighting, appropriate to task Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Adequate ventilation Electrical outlets for equipment Organize for efficient work flow and sufficient clearance for several people to work at one time |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

ADMINISTRATIVE WORKROOM

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 Work table L2 4 chairs; task chair L3 Computer workstation Wastebasket Miscellaneous: M1 Copier M2 Paper cutter M3 Laminating machine M4 Refrigerator with ice maker M5 Color printer M6 Microwave | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: 123200 Base/wall cabinets and shelving F2 Marker board (4 LF) 101100 F3 Soap dispenser 102800 F4 Towel dispenser 102800 F5 Tack board (4 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: (optional) Div. 22 Plumbing connections Hook-up for refrigerator ice maker, sink, single/deep bowl HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles Raceway above countertop TVSS protected quad receptacle adjacent to each data port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Dedicated receptacle for copier Clock Central sound system Communications: Div. 27 T1 Voice ports and phones T2 Data port for printer Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

MAILBOX AREA IN WORKROOM	E-AD-8

| CAPACITY: Staff Faculty SIZE: Varies, see table ANCILLARY SPACES: Administrative Workroom (E-AD-7) | GOAL: To provide an area to disseminate mail to staff members PROGRAM ACTIVITIES: Delivery of general mail Sign in/out location SPATIAL RELATIONSHIPS: Adjacent to Administrative Workroom Accessible from main corridor Fixed Equipment: F1 Casework: 123200 Mail slots 12" wide x 6" high x 15" deep (45-50 total slots) pass-through cabinet |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.  The mail cubicles can be either on the wall or through the wall, verify with each school for their preference.

RECORDS ROOM								E-AD-9

| CAPACITY: Secretaries Staff SIZE: Varies, see table ANCILLARY SPACES: N/A | GOAL: To provide secure, fireproof, and adequate storage for money, records, and other valuable items PROGRAM ACTIVITIES: Storing of money and other valuable items Storage of files and records Accessible to administration staff SPATIAL RELATIONSHIPS: Near Data Entry Office ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Security of door |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

RECORDS ROOM

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Base: Resilient base 096519 Ceiling (8’ high minimum) Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 8-10, four-drawer file cabinets (fireproof) L2 Small safe L3 Small table L4 Chair | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: Wall shelving 123200 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Exhaust air system Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Communications: Div. 27 T1 Voice port and phone T2 Data port |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

STAFF TOILET																E-AD-11

| CAPACITY: Staff SIZE: 50 SF ANCILLARY SPACES: N/A | PROGRAM ACTIVITIES: Personal and health needs for administrative staff Changing clothing SPATIAL RELATIONSHIPS: Near Welcome Center ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Moisture- and stain- resistant finishes Adequate exhaust/ventilation |
| --- | --- |

NOTES:

1.	Extend walls above ceiling to deck above for security and acoustical reasons.

2.	Provide staff restrooms for both men and women.

3.	Each pair of staff restrooms should be distributed throughout the building at appropriate locations.

STAFF TOILET	E-AD-11

| Spec. Finishes1: Ref.# Flooring: Ceramic tile 093000 Base: Ceramic mosaic tile base 093013 Resilient 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 | Spec. Features1: Ref.# Fixed Equipment: F1 Towel dispenser 102800 F2 24" x 60" mirror 102800 F3 Toilet tissue holder 102800 F4 36" and 42" grab bars 102800 F5 Soap dispenser 102800 F6 Sanitary dispenser 102800 F7 Sanitary disposal 102800 F8 Coat hook 102800 F9 Casework: Wall cabinet 103200 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Wall-mounted water closet Wall-mounted lavatory Plumbing connections Floor drain HVAC: Div. 23 Exhaust air system Supplemental heat as required Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Fire alarm devices per code Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

WAITING/TREATMENT AREA (HEALTH SUITE)	E-AD-16

| CAPACITY: 1 staff member/volunteer/nurse Students SIZE: 180 SF ANCILLARY SPACES: Office (E-AD-15) Cots Storage | GOAL: To provide school-based health services PROGRAM ACTIVITIES: First aid Consultation with students Health screening Medical treatments Medication administration Student resting while awaiting pick-up by parent or guardian ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Stain-resistant floor covering Sink with hot and cold water Adequate ventilation Electrical outlets for equipment Locate away from rooms with copiers, interferes with hearing screening Auditory and visual privacy Visual control to Office/Waiting or Welcome Center |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

WAITING/TREATMENT AREA (HEALTH SUITE)	E-AD-16

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: 2-3 Chairs Side table Mobile exam table Stool | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: Base/wall cabinets 123200 Place for refrigerator F2 Casework: Tall storage 123200 F3 Cubicle curtain 102123 F4 Soap dispenser 102800 F5 Towel dispenser 102800 Tackboard Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Plumbing connections Single sink w/hands-free gooseneck HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Voice port and phone T2 Data port Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

OFFICE AREA - Health Suite	E-AD-15

| CAPACITY: Staff Students Parents Visitors SIZE: 100 SF ANCILLARY SPACES: Treatment Area (E-AD-16) Storage (E-AD-18) | GOAL: Administrative and meeting area for health services PROGRAM ACTIVITIES: Meeting area for students parent or guardian Administrative activities by school nurse Private conversations SPATIAL RELATIONSHIPS: Adjacent and access to Treatment Area Adjacent and access to Storage ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 40 Ceiling minimum: CAC 35 Visual control to Welcome Center or corridor Visual and auditory privacy |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

OFFICE  AREA - Health Suite	E-AD-15

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 Admin workstation L2 Ergonomic chair L3 1-2 visitor chairs File cabinet | Spec. Features1: Ref.# Fixed Equipment: F1 Tack board (4 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles 2 outlets per wall, minimum TVSS protected quad receptacle adjacent to each data port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Voice port and phone 2 Data port for printer T3 Data port near workstation T4 Cable/MATV T5 Video port, monitor, VCR/DVD, and brackets Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

COTS											Health Suite

| CAPACITY: Staff Students SIZE: 150 SF ANCILLARY SPACES: N/A | GOAL: To provide a place for students and staff to lie down when feeling ill PROGRAM ACTIVITIES: A resting place for students and staff when feeling ill SPATIAL RELATIONSHIPS: Located within Health Suite Near welcome center ENVIRONMENTAL CONSIDERATIONS: Uniform lighting/dimmable lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Stain-resistant floor covering Adequate ventilation Auditory and visual privacy Visual control from Office/Waiting or Welcome Center |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

COTS

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling (8’ high minimum): Suspended, acoustical 095113 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Loose Furnishings: L1 3 cots L2 2 chairs | Spec. Features1: Ref.# Fixed Equipment: F1 Cubicle curtains 102123 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting with dimmer Illumination level: See Table 7600-16 Clock Central sound system Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

STORAGE

| CAPACITY: Staff SIZE: 25 SF ANCILLARY SPACES: Office/Waiting Area (E-AD-15) | GOAL: To provide storage for medical supplies and equipment PROGRAM ACTIVITIES: Storing chemicals, equipment, and supplies SPATIAL RELATIONSHIPS: Adjacent and access to Office/Waiting ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Security of equipment, supplies, and medicines Security of door |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

STORAGE

Health Suite

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling (8’ high minimum): Cleanable, suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: N/A Note: Refrigerator may be in the office area | Spec. Features1: Ref.# Fixed Equipment: F1 Storage shelving: 105613 12" deep F2 Storage shelving: 105613 18" deep Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Fire protection system Plumbing connections Hook-up for ice maker HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Refrigerator (lockable) with ice maker |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

TOILET	E-AD-19

| CAPACITY: Students Staff SIZE: 50 SF ANCILLARY SPACES: N/A | PROGRAM ACTIVITIES: Personal and health needs for the health suite Changing clothing SPATIAL RELATIONSHIPS: Located within Health Suite ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Moisture- and stain-resistant finishes Adequate exhaust/ventilation |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

TOILET

| Spec. Finishes1: Ref.# Flooring: Ceramic tile 093000 Base: Ceramic mosaic tile base 093013 Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 | Spec. Features1: Ref.# Fixed Equipment: F1 Towel dispenser 102800 F2 24" x 60" mirror 102800 F3 Toilet tissue holder 102800 F4 36" and 42" grab bars 102800 F5 Soap dispenser 102800 F6 Sanitary dispenser 102800 F7 Sanitary disposal 102800 F8 Coat hook 102800 F9 Casework: Wall cabinet 103200 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Wall-mounted water closet Wall-mounted lavatory Plumbing connections Floor drain HVAC: Div. 23 Exhaust air system Supplemental heat as required Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

1.	Finishes/Features:  Refer to Chapter 8 for specification references.

STAFF LOUNGE 	E-AD-21

| CAPACITY: Staff SIZE: Varies, see table ANCILLARY SPACES: N/A | GOAL: To provide an area for staff dining and for relaxing PROGRAM ACTIVITIES: Staff dining Relaxation SPATIAL RELATIONSHIPS: Near Academic Classrooms Access to Main Corridor May be divided among floors ENVIRONMENTAL CONSIDERATIONS: Uniform lighting, appropriate to task Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 40 Electrical outlet for equipment Windows to provide natural light, desirable |
| --- | --- |

NOTES:

1.  Loose furnishings and features shown represent one of many possible arrangements.

STAFF LOUNGE 	Administrative Support

| Spec. Finishes1: Ref.# Flooring: Tile carpet 096813 Linoleum 096516 Shower: Ceramic mosaic tile 093013 Base: Resilient base 096519 Shower: Ceramic mosaic tile base 093013 Ceiling (8’ high minimum): Suspended, acoustical 095113 Shower: Painted portland cement plaster 092400 / 099123 Walls: Painted gypsum wallboard over metal studs 092116 / 099123 Shower: Ceramic tile 093013 Loose Furnishings: L1 3 square tables L2 10-15 chairs L3 3-5 lounge chairs L4 2 end tables L5 2 table lamps Communications: Div. 27 T2 Voice port and phone T3 2 data ports Miscellaneous: M1 Microwaves M2 Refrigerator with ice maker | Spec. Features1: Ref.# Fixed Equipment: F1 Casework: Base/wall cabinets 123200 F2 24" x 60" mirror 102800 F3 Toilet tissue dispenser 102800 F4 36" and 42" grab bars 102800 F5 Soap dispenser 102800 F6 Towel dispenser 102800 F7 Shower curtain with rod 102800 F8 ADA shower accessories 102800 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Plumbing connections Wall-mounted lavatory Wall-mounted water closet Floor drains - in restroom and shower HVAC: Div. 23 Supply/return air system Exhaust air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to each data and video port Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

Dinning and Food Services

| Spaces | Suggested | Comments |
| --- | --- | --- |
|  | Qty. | S.F. | Total |  |
| Student Dining Area/Multi-purpose | 1 | 2,250 | 2,250 |  |
| Chair and Table Storage | 1 | 250 | 250 |  |
| Serving area | 1 | 300 | 200 |  |
| Kitchen Suite | 1 | 1800 | 1800 |  |
| Total |  |  | 4,500 |  |

Comments: The overall total for the Dining and Food Services area may be + or – 15%. The existing dining area and kitchen are undersized for the proposed capacity.  If these spaces are replaced, the school would like to keep the current dining as a multi-purpose area if feasible.  If this area is expanded, the room should be dividable.

STUDENT DINING AREA / MULTIPURPOSE	SD-1

| CAPACITY: 1/3 of students per lunch period 1/3 of staff members per lunch Community (after hours) ANCILLARY SPACES Chair/Table Storage (SD-2) Food Preparation Area (SD-4) | GOALS: To provide a pleasant atmosphere for students to eat meals To provide a flexible meeting space for groups if needed PROGRAM ACTIVITIES: Student dining School and community programs, meetings, and activities SPATIAL RELATIONSHIPS: Adjacent and access to Food Preparation Area Adjacent and access to Chair/Table Storage Centrally located to office area, gymnasium, classrooms, and media center ENVIRONMENTAL CONSIDERATIONS: Lighting appropriate to tasks Adequate ventilation Electrical outlets for equipment along perimeter walls and on columns Environmental sound control: Wall minimum: STC 45 Ceiling minimum: CAC 35 Higher than normal ceiling height Cleanable building surfaces Windows to provide ample natural light Good sight lines to all areas of the room for supervision Window treatment to darken room for AV presentation Outlets and data ports for salad bar/POS Flush to ground with cover Cold filtered water |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

STUDENT DINING AREA / MULTIPURPOSE	SD-1

| Spec. Finishes1: Ref.# Flooring: Fluid-applied athletic flooring 096766 Base: Resilient base 096519 Ceiling: (15’ high minimum) Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Acoustical wall treatment 098400 Loose Furnishings: L1 Tables and seating to accommodate 1/3 of school capacity (266 for lunch) Miscellaneous: M1 Audio system | Spec. Features1: Ref.# N/A Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Electric water cooler HVAC: Div. 23 Supply/return air system Independent temperature control Air conditioning Electrical: Div. 26 Duplex receptacles Vending Machines TVSS protected quad receptacles adjacent to each data and video port Multilevel switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Student dining sound system2 Central sound system Communications: Div. 27 T1 2 cable/MATV ports T2 4 data ports T3 Voice port and phone T4 2 video ports, monitors, VCRs/DVDs, and brackets Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

1.	Finishes/Features:  Refer to Chapter 8 for specification references.

CHAIR / TABLE STORAGE	SD-2

| . CAPACITY: N/A SIZE: Varies, see table ANCILLARY SPACES: Student Dining Area/Multipurpose (M-SD-1) | GOAL: To provide convenient storage of dining chairs and tables to be used for meetings and performances PROGRAM ACTIVITY: Storage SPATIAL RELATIONSHIPS: Adjacent and access to Student Dining Area/Multipurpose ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Cleanable building surfaces Accessibility for moving furniture in and out |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

CHAIR / TABLE STORAGE																SD-2

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Chairs L2 Chair dollies | Spec. Features1: Ref.# Fixed Equipment: N/A Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Communications: N/A Electronic Safety and Security: N/A Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

COOKING KITCHEN

| This space consists of the following areas: Food Preparation Area 750 Dry Food Storage 250 Freezer & Cooler 250 Ware Washing 100 Paper Storage 225 Lockers 75 Toilet 50 Food Service Office 100 1800 A space plate follows for each of these areas. CAPACITY: Students Staff Community ANCILLARY SPACES: Student Dining Area/Multipurpose (E-SD-1) | GOAL: To provide an area for the preparation of student and staff meals PROGRAM ACTIVITIES: Prep food (food delivered from milk, grocery, and produce vendors) Serve food Storage Point of sale (in the dining area associated with the serving area) SPATIAL RELATIONSHIPS: Near loading dock to permit semi-tractor trailers access to docking and storage areas (site specific) Adjacent and access to Student Dining Area/Multipurpose Near dumpsters Cafeteria serving arrangement ENVIRONMENTAL CONSIDERATIONS: Food service department, public health Durable flooring Proper ventilation of space to remove cooking odors Cleanable building surfaces Hand sinks in each area of service, production, dishwashing, and serving. Paper towel dispensers need to be uniform with the rest of the school for ordering purposes. Soap dispensers need to be uniform with schools for ordering purposes. |
| --- | --- |

NOTES:

- 1.  This is an example of a kitchen.  Food service equipment will vary from school to school; confirm

requirements with District of Columbia Public Schools Food Service Department.

FOOD preparation AREA

| m CAPACITY: Staff SIZE: Varies, see table | GOAL: To prepare student meals PROGRAM ACTIVITIES: Prepare food SPATIAL RELATIONSHIPS: Adjacent to Student Dining Area/Multipurpose Open to Serving Area ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Proper ventilation of space to remove cooking odors Cleanable building surfaces Electrical/plumbing/mechanical connections for food service equipment Towel dispensers, Soap dispensers, |
| --- | --- |

This is an example of a preparation area.  Food service equipment will vary from school to school; confirm requirements with District of Columbia Public Schools Food Service Department.

FOOD PREPARATION AREA

| Spec. Finishes1: Ref.# Flooring: Easy clean, non-slip flooring - Single surface poured or rolled flooring Base: Resilient base 096519 Ceiling: Cleanable, suspended, acoustical 095113 Walls: Epoxy-painted concrete masonry units Water areas of kitchen, eg. Dish room, pot sink area. 042000 / 099123 Features (Specifications from DCPS): Equipment: Pot washing sinks Food Preparation Sinks Hand Sinks with adjacent trash bin Work Tables Warming/Holding/Cabinets Refrigeration - Reach-ins Storage shelving Mop washing sink Lockable chemical storage Exhaust Hood Systems, including Fire Suppression Combi oven Convection steamer Range, with oven, convection base Ware Washing Machine with appropriate accessories (tables, booster heater, disposer, etc.) | Spec. Ref.# Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Connections to food service equipment Plumbing and gas connections Hand washing lavatory Floor drains Food preparation sink with adjacent trash bin HVAC: Div. 23 Supply/return air system Independent temperature control Kitchen canopy exhaust system Air conditioning Electrical: Div. 26 Duplex receptacles Connections to food service equipment Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

# Serving Area	E-SD-3B

| CAPACITY: Students Staff Community ANCILLARY SPACES: Student Dining Area/Multipurpose (E-SD-1) Kitchen (E-SD-3) | GOAL: To provide serving station for those seeking meals or snacks PROGRAM ACTIVITIES: Serve food SPATIAL RELATIONSHIPS: Within Student Dining Area/Multipurpose or Food Preparation Area Beginning of serving line should be near entry door of Students Dining Area/Multipurpose Adjacent and access to Student Dining Area/Multipurpose Open to Food Preparation Area ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Cleanable building services Electrical connections for food service equipment |
| --- | --- |

# NOTES:

- This is an example of a serving area.  Food service equipment will vary from school to school; confirm requirements with District of Columbia Public Schools Food Service Department.

- Loose furnishings and features shown represent one of many possible arrangements.

# Serving Area	E-SD-3B

| Spec. Finishes1: Ref.# Flooring: Quarry tile 093000 Base: Quarry tile base 093000 Ceiling: Cleanable, suspended, acoustical 095113 Walls: Epoxy-painted concrete masonry units 042000 / 099123 Loose Furnishings: N/A Miscellaneous: Cash registers at end of at point of service Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Connections to food service equipment Plumbing and gas connections Hand washing lavatory Floor drains | Spec. Features1: Ref.# Fixed Equipment: Drop-In Individually Controlled Heated Electric Food Wells, Full Service Sneeze Guard with overshelf may use existing milk box or a new airscreen refrigerator for beverages. Size of equipment and number of are determined by space available. A Drop-In Self-Contained Refrigerated Cold Pan will also be included for side items. Counter and sneeze guards are lower than normal for better viewing and service to elementary students. HVAC: Div. 23 Supply/return air system Independent temperature control Kitchen canopy exhaust system Air conditioning Electrical: Div. 26 Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Duplex receptacles along permanent perimeter walls Electrical supply to support equipment specified Clock Circuits for portable generator TVSS protected quad receptacle adjacent to data and video ports Communications: Div. 27 T1 1 voice port and phone T2 2 data ports at cash registers or per salad bar Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

# NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

DRY Food Storage												E-SD-3C

| CAPACITY: N/A SIZE: Varies, see table ANCILLARY SPACES: Warming Kitchen (E-SD-3) | GOAL: To provide an area for food storage PROGRAM ACTIVITIES: Storage SPATIAL RELATIONSHIPS: Near Supply Storage/Receiving Adjacent and access to Food Preparation Area ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Cleanable building surfaces Adequate exhaust/ventilation |
| --- | --- |

NOTES:

- This is an example of a dry food storage area.  Food service equipment will vary from school to school; confirm requirements with District of Columbia Public Schools Food Service Department.

DRY Food Storage																E-SD-3C

| Spec. Finishes1: Ref.# Flooring: Quarry tile 093000 Base: Quarry tile base 093000 Resilient base 096519 Ceiling: Cleanable, suspended, acoustical 095113 Walls: Epoxy-painted concrete masonry units 042000 / 099123 Loose Furnishings: N/A | Spec. Features1: Ref.# Fixed Equipment: F1 Rust-resistant 24" deep shelving and dunnage racks 114000 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Fire alarm devices per code Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

Freezer AND Cooler 	E-SD-3D

| SIZE: Varies, see table ANCILLARY SPACES: Kitchen (E-SD-3) | GOAL: To provide space for manufactured freezer and refrigerator units to store food for short periods of time PROGRAM ACTIVITIES: Storage Walk-in type SPATIAL RELATIONSHIPS: Adjacent and access to Food Preparation Area Near the Supply Storage/Receiving ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Ventilation for refrigeration machinery equipment Cleanable building surfaces Floor to be flush with adjacent kitchen floor Electrical service for refrigeration equipment Freezer/coolers need to be connected to the generator. |
| --- | --- |

NOTES:

- 1.	This is an example of a freezer and cooler.  Food service equipment will vary from school to school; confirm requirements with District of Columbia Public Schools' Food Service Department.

- generally, deliveries occur once a week.

Freezer AND Cooler

E-SD-3D

| Spec. Finishes1: Ref.# Flooring: Poured Resin Floor Base: Manufactured insulated panel 114000 Ceiling: Manufactured insulated panel 114000 Walls: Manufactured insulated panel 114000 Loose Furnishings: N/A | Spec. Features1: Ref.# Fixed Equipment: F1 Rust resistant 24" deep shelving and dunnage racks 114000 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Exhaust air system for compressors Div. 15 Electrical: Div. 26 Electrical connections to freezer/cooler refrigeration equipment Single-level switching Incandescent lighting Illumination level: See Table 7600-16 Communications: N/A Electronic Safety and Security: N/A Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

Ware Washing								E-SD-3E

| CAPACITY: N/A SIZE: Varies, see table ANCILLARY SPACES: Kitchen (E-SD-3) | GOAL: To clean food service equipment PROGRAM ACTIVITY: Space and equipment to scrape, wash, dry, and store food service equipment SPATIAL RELATIONSHIPS: Pass-through into Student Dining Area/Multipurpose Adjacent and access to Food Preparation Area ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Proper ventilation of space to remove steam and condensation Cleanable building surfaces |
| --- | --- |

NOTES:

- his is an example of a ware washing area.  Food service equipment will vary from school to school; confirm requirements with District of Columbia Public Schools' Food Service Department.

Ware Washing

E-SD-3E

| Spec. Finishes1: Ref.# Flooring: Quarry tile 093000 Base: Quarry tile base 093000 Resilient base 096519 Ceiling: Cleanable, suspended, acoustical 095113 Walls: Epoxy-painted concrete masonry units 042000 / 099123 Loose Furnishings: N/A | Spec. Features1: Ref.# Fixed Equipment: F1 Food service equipment 114000 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Lavatory Connections to food service equipment Three compartment sink Floor drain HVAC: Div. 23 Supply/return air system Independent temperature control Exhaust hood system Electrical: Div. 26 Duplex receptacles Connections to food service equipment Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

PAPER PRODUCTS STORAGE							E-SD-3F

| CAPACITY: N/A SIZE: Varies, see table ANCILLARY SPACES: Kitchen (E-SD-3) | GOAL: To provide storage for paper products used in preparing and serving meals To provide storage for food program equipment (BIC, FFVP, and Early Childhood) PROGRAM ACTIVITIES: Lockable space SPATIAL RELATIONSHIPS: Adjacent and access to Food Preparation Area ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Adequate exhaust/ventilation Cleanable building surfaces |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

PAPER PRODUCTS STORAGE

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Quarry tile base 093000 Resilient base 096519 Ceiling: Cleanable, suspended, acoustical 095113 Walls: Epoxy-painted concrete masonry units 042000 / 099123 Loose Furnishings: N/A | Spec. Features1: Ref.# Fixed Equipment: F1 Rust-resistant shelving 114000 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Exhaust air system Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Communications: N/A Electronic Safety and Security: N/A Miscellaneous: N/A |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

# CLEANING STORAGE							E-SD-4

| CAPACITY: Food service staff SIZE: 50 SF ANCILLARY SPACES: Kitchen (E-SD-3) | GOAL: To store chemicals used in cleaning and maintaining kitchen PROGRAM ACTIVITIES: Storing chemicals and equipment SPATIAL RELATIONSHIPS: Adjacent and access to Kitchen ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Cleanable building surfaces Sensors for spilled chemicals Adequate exhaust/ventilation |
| --- | --- |

NOTES:

- This is an example of a cleaning storage area.  Food service equipment will vary from school to school; confirm requirements with District of Columbia Public Schools Food Service Department.

- Loose furnishings and features shown represent one of many possible arrangements.

LOCKERS									E-SD-5

| CAPACITY: Food service personnel SIZE: 75 SF ANCILLARY SPACES: Kitchen (E-SD-3) Toilet (E-SD-6) | GOAL: To provide space for the food service staff to store their personal belongings and to change their clothing PROGRAM ACTIVITIES: Space for the storage of towels, aprons, etc. Space to allow food staff personnel to take breaks SPATIAL RELATIONSHIPS: Adjacent and access to Kitchen Adjacent and access to Toilet ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 40 Ceiling minimum: CAC 35 |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

LOCKERS

E-SD- 5

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Quarry tile base 093000 Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Chairs L2 30" x 60" table Wastebasket | Spec. Features1: Ref.# Fixed Equipment: F1 Lockers 105113 12" wide x 12" deep x 72" high F2 Tack board (4 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Exhaust air system Supplemental heat as required Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

1.	Finishes/Features:  Refer to Chapter 8 for specification references.

TOILET	E-SD-6

| CAPACITY: Food service personnel SIZE: 50 SF ANCILLARY SPACES: Lockers (E-SD-5) | PROGRAM ACTIVITIES: Personal and health needs for food service staff Changing clothing SPATIAL RELATIONSHIPS: Adjacent and access to lockers Near Kitchen ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 40 Ceiling minimum: CAC 35 Moisture- and stain-resistant finishes Adequate exhaust/ventilation |
| --- | --- |

NOTES:

- Loose furnishings and features shown represent one of many possible arrangements.

TOILET

E-SD-6

| Spec. Finishes1: Ref.# Flooring: Ceramic tile 093000 Base: Quarry tile base 093000 Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: N/A | Spec. Features1: Ref.# Fixed Equipment: F1 Towel dispenser 102800 F2 24" x 60" mirror 102800 F3 Toilet tissue holder 102800 F4 36" and 42" grab bars 102800 F5 Soap dispenser 102800 F6 Sanitary dispenser 102800 F7 Sanitary disposal (with cover) 102800 F8 Coat hook 102800 Fire Suppression: Div. 21 Fire suppression system Plumbing: Div. 22 Wall-mounted water closet Wall-mounted lavatory Plumbing connections Floor drain HVAC: Div. 23 Exhaust air system Supplemental heat as required Electrical: Div. 26 Duplex receptacles Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Central sound system Communications: N/A Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: N/A |
| --- | --- |

NOTES:

1.	Finishes/Features:  Refer to Chapter 8 for specification references.

FOOD SERVICE OFFICE	E-SD-7

| CAPACITY: Food service manager Food service staff SIZE: 100 SF ANCILLARY SPACES: Kitchen (E-SD-3) | GOAL: To provide an area to keep records and conduct business PROGRAM ACTIVITIES: Scheduling Staff evaluations/discipline/meetings SPATIAL RELATIONSHIPS: Adjacent and access to kitchen ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Environmental sound control: Wall minimum: STC 40 Ceiling minimum: CAC 35 Electrical outlets for equipment View of the kitchen |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

FOOD SERVICE OFFICE

E-SD-7

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Quarry tile base 093000 Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 Desk L2 Four-drawer file cabinet L3 Computer workstation L4 Ergonomic task chair L5 Adjustable height bookshelves (12 LF) L6 Printer table Wastebasket | Spec. Features1: Ref.# Fixed Equipment: F1 Tack board (4 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to data and video port Single-level switching Fluorescent lighting Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 Voice port and phone T2 Data port near workstation T3 Data port for printer Electronic Safety and Security: Div. 28 Life safety devices per code Miscellaneous: M1 Computer M2 Printer Bulletin board |
| --- | --- |

NOTES:

- Finishes/Features:  Refer to Chapter 8 for specification references.

Maintenance & Custodial Space Requirements

| Spaces | Suggested | Comments |
| --- | --- | --- |
|  | Qty. | S.F. | Total |  |
| Receiving and storage | 1 | 450 | 450 |  |
| Facilities Manager | 1 | 80 | 80 |  |
| Custodial Office | 1 | 140 | 140 |  |
| Toilet/Showers/Lockers | 2 | 125 | 250 |  |
| Outside storage | 1 | 300 | 300 |  |
| Total |  |  | 1220 |  |

CUSTODIAL OFFICE	M-EC-3

| CAPACITY: Maintenance and custodial staff SIZE: 150 SF ANCILLARY SPACES: Supply Storage/Receiving (M-EC-2) | GOAL: To provide an area for the maintenance manager, staff, and building engineer to provide supervision of the physical plan PROGRAM ACTIVITIES: Conferences with staff and other visitors Telephone calls Paperwork SPATIAL RELATIONSHIPS: Adjacent and access to Supply Storage/Receiving Access to corridor ENVIRONMENTAL CONSIDERATIONS: Uniform lighting Electrical outlets for equipment Visual control of supply storage/receiving |
| --- | --- |

NOTES:

1.	Loose furnishings and features shown represent one of many possible arrangements.

CUSTODIAL OFFICE

M-EC-3

| Spec. Finishes1: Ref.# Flooring: Resilient tile flooring 096519 Base: Resilient base 096519 Ceiling: Suspended, acoustical 095113 Walls: Painted concrete masonry units 042000 / 099123 Loose Furnishings: L1 desk L2 four-drawer file cabinet L3 2 ergonomic task chairs L4 Adjustable height bookshelves (12 LF) L5 Printer table | Spec. Features1: Ref.# Fixed Equipment: F1 Tack board (4 LF) 101100 Fire Suppression: Div. 21 Fire suppression system Plumbing: N/A HVAC: Div. 23 Supply/return air system Independent temperature control Electrical: Div. 26 Duplex receptacles TVSS protected quad receptacle adjacent to data port Single-level switching Fluorescent lighting 16500 16500 Illumination level: See Table 7600-16 Clock Central sound system Communications: Div. 27 T1 2 data ports T2 2 voice ports and phones T3 Data port for printer Electronic Safety and Security: Div. 28 Life safety devices per code |
| --- | --- |

NOTES:

Finishes/Features:  Refer to Chapter 8 for specification references.

PLAYGROUNDS

AREA REQUIRED

1.	Provide playground areas to allow for difference in age, ability, and varying interests.

2.	Follow applicable safety guidelines for different age groups.

Pre-kindergarten to grade 1 play area.  See Figure B-1.

a.	Plan for play activities that include rocking, swinging, balancing, climbing, and sliding.

b. 	Include tables and chairs for age group

c.	Locate equipment with moving parts, such as swings, at the perimeter of the play area. Use fence or planting beds to prevent children from inadvertently stepping into path of moving equipment.

Primary Play Area (See Figure B-2)

a.	Design for grades 1 through 3.

b.	Plan for play activities that include rocking, swinging, balancing, climbing, and sliding.

c.	Plan for upper-body strengthening devices such as a parallel bar and overhead ladder play equipment.

Intermediate Play Area  (See Figure B-3)

a.	Design for grades 4 and 5.

b.	Intermediate play area may be combined with primary play area and a ‘tot track’ designed around both play areas

c.	Include an outdoor science classroom that may include a garden.

d.	Plan for 1 full basketball court (50 feet by 84 feet) or 2 half courts (50 feet by 42 feet).

SOFT SURFACE PLAY AREA

- Soft surfaces are provided under play equipment and must be handicapped accessible.

- Surfacing is to be a poured polyurethane surface.  Avoid using black surfacing.

ACCESSIBILITY STANDARDS

1.	Plan for ramps and/or transfer points on composite play structures for access to play components on elevated decks. Meet the Americans with Disabilities Act guidelines for percentage of components that are to be accessible by ramp and by transfer deck.  See Figure E-1.

2.	Provide table and benches along accessible route.

- Provide upper-body strengthening devices as appropriate for age group and amount of supervision.

See Design Guidelines for Site requirements for parking, circulation, etc.

# Text boxes

##### District of Columbia Public Schools

THE VISION:  To Make the Washington, D.C. School System Exemplary

THE MISSION:  To Make Dramatic Improvement In the Achievement of All Students Today In Preparation for Their World Tomorrow

CORE BELIEFS:

Children First

Parents Are Our Partners

Victory Is In the Classroom

It Takes A Village to Raise A Child

Leadership and Accountability Are the Keys to Our Success

Diagram Intro A

Example of Pre-kindergarten to Grade 1 Play Area

Figure B-1

Example of Primary Play Area

Figure B-2

Example of Intermediate Play Area

Figure B-3

Typical Ramp and Transfer Deck

Figure E-1