## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002538 | 2021-09-27 | 2022-09-27 | 1 | Classroom Faucet | In day care room 174 |  |  | WF-09272021-002538 | 2022-03-24 | FT-FY22-02212022-002538-A | <1 | FT-FY22-02212022-002538-B | <1
WS- 002539 | 2021-09-27 | 2022-09-27 | 1 | Classroom Faucet | In day care room 175 |  |  | WF-09272021-002539 | 2022-03-24 | FT-FY22-02212022-002539-A | 21.4 | FT-FY22-02212022-002539-B | 5.6
WS- 002540 | 2021-09-27 | 2022-09-27 | 1 | Classroom Faucet | In day care room 175 adjacent to bathroom |  |  | WF-09272021-002540 | 2022-03-24 | FT-FY22-02212022-002540-A | <1 | FT-FY22-02212022-002540-B | <1
WS- 004892 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In hallway adjacent to room 002 | High | Left | WF-03222021-004892 | 2022-03-24 | FT-FY22-02212022-004892-A | <1 | FT-FY22-02212022-004892-B | <1
WS- 004893 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In hallway adjacent to room 002 | Low | Right | WF-03222021-004893 | 2022-03-24 | FT-FY22-02212022-004893-A | <1 | FT-FY22-02212022-004893-B | <1
WS- 004896 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In hallway adjacent to girls' restroom | High | Left | WF-03222021-004896 | 2022-03-24 | FT-FY22-02212022-004896-A | <1 | FT-FY22-02212022-004896-B | <1
WS- 004897 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In hallway adjacent to girls' restroom | Low | Right | WF-03222021-004897 | 2022-03-24 | FT-FY22-02212022-004897-A | <1 | FT-FY22-02212022-004897-B | <1
WS- 004903 | 2021-03-22 | 2022-03-22 | Basement | Bottle Filler | In classroom 016 (bottle filler) |  |  | WF-03222021-004903 | 2022-03-24 | FT-FY22-02212022-004903-A | <1 | FT-FY22-02212022-004903-B | <1
WS- 004904 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In classroom 016 | High | Left | WF-03222021-004904 | 2022-03-24 | FT-FY22-02212022-004904-A | <1 | FT-FY22-02212022-004904-B | <1
WS- 004905 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In classroom 016 | Low | Right | WF-03222021-004905 | 2022-03-24 | FT-FY22-02212022-004905-A | <1 | FT-FY22-02212022-004905-B | <1
WS- 004911 | 2021-03-22 | 2022-03-22 | Basement | Bottle Filler | In pool area (bottle filler) |  |  | WF-03222021-004911 | 2022-03-24 | FT-FY22-02212022-004911-A | <1 | FT-FY22-02212022-004911-B | <1
WS- 004912 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In pool area | High | Left | WF-03222021-004912 | 2022-03-24 | FT-FY22-02212022-004912-A | <1 | FT-FY22-02212022-004912-B | <1
WS- 004913 | 2021-03-22 | 2022-03-22 | Basement | Cooler | In pool area | Low | Right | WF-03222021-004913 | 2022-03-24 | FT-FY22-02212022-004913-A | <1 | FT-FY22-02212022-004913-B | <1
WS- 004915 | 2021-03-22 | 2022-03-22 | 3 | Cooler | In lobby adjacent to room 342 |  |  | WF-03222021-004915 | 2022-03-24 | FT-FY22-02212022-004915-A | <1 | FT-FY22-02212022-004915-B | <1
WS- 004929 | 2021-03-22 | 2022-03-22 | 3 | Cooler | In hallway adjacent to room 315 | High | Left | WF-03222021-004929 | 2022-03-24 | FT-FY22-02212022-004929-A | <1 | FT-FY22-02212022-004929-B | <1
WS- 004930 | 2021-03-22 | 2022-03-22 | 3 | Cooler | In hallway adjacent to room 315 | Low | Right | WF-03222021-004930 | 2022-03-24 | FT-FY22-02212022-004930-A | <1 | FT-FY22-02212022-004930-B | <1
WS- 004931 | 2021-03-22 | 2022-03-22 | 3 | Cooler | In hallway adjacent to room 307 | High | Left | WF-03222021-004931 | 2022-03-24 | FT-FY22-02212022-004931-A | <1 | FT-FY22-02212022-004931-B | <1
WS- 004932 | 2021-03-22 | 2022-03-22 | 3 | Cooler | In hallway adjacent to room 307 | Low | Right | WF-03222021-004932 | 2022-03-24 | FT-FY22-02212022-004932-A | <1 | FT-FY22-02212022-004932-B | <1
WS- 004950 | 2021-03-22 | 2022-03-22 | 2 | Cooler | In hallway adjacent to room 209A (bottle filler) | High | Left | WF-03222021-004950 | 2022-03-24 | FT-FY22-02212022-004950-A | <1 | FT-FY22-02212022-004950-B | <1
WS- 004952 | 2021-03-22 | 2022-03-22 | 2 | Cooler | In hallway adjacent to room 209A | Low | Right | WF-03222021-004952 | 2022-03-24 | FT-FY22-02212022-004952-A | <1 | FT-FY22-02212022-004952-B | <1
WS- 004954 | 2021-03-22 | 2022-03-22 | 2 | Cooler | In lobby across from room 242 | High | Left | WF-03222021-004954 | 2022-03-24 | FT-FY22-02212022-004954-A | <1 | FT-FY22-02212022-004954-B | <1
WS- 004955 | 2021-03-22 | 2022-03-22 | 2 | Cooler | In lobby across from room 242 | Low | Right | WF-03222021-004955 | 2022-03-24 | FT-FY22-02212022-004955-A | <1 | FT-FY22-02212022-004955-B | <1
WS- 004981 | 2021-03-22 | 2022-03-22 | 2 | Cooler | In hallway across from room 230 | High | Left | WF-03222021-004981 | 2022-03-24 | FT-FY22-02212022-004981-A | <1 | FT-FY22-02212022-004981-B | <1
WS- 004982 | 2021-03-22 | 2022-03-22 | 2 | Cooler | In hallway across from room 230 | Low | Right | WF-03222021-004982 | 2022-03-24 | FT-FY22-02212022-004982-A | <1 | FT-FY22-02212022-004982-B | <1
WS- 004988 | 2021-03-22 | 2022-03-22 | 1 | Break Room | In work room 104 |  |  | WF-03222021-004988 | 2022-03-24 | FT-FY22-02212022-004988-A | <1 | FT-FY22-02212022-004988-B | <1
WS- 004989 | 2021-03-22 | 2022-03-22 | 1 | Break Room | In work room 105 |  |  | WF-03222021-004989 | 2022-03-24 | FT-FY22-02212022-004989-A | <1 | FT-FY22-02212022-004989-B | <1
WS- 004990 | 2021-03-22 | 2022-03-22 | 1 | Health Suite | In health suite in exam room W106 |  |  | WF-03222021-004990 | 2022-03-24 | FT-FY22-02212022-004990-A | <1 | FT-FY22-02212022-004990-B | <1
WS- 004991 | 2021-03-22 | 2022-03-22 | 1 | Health Suite | In health suite in exam room W104 |  |  | WF-03222021-004991 | 2022-03-24 | FT-FY22-02212022-004991-A | <1 | FT-FY22-02212022-004991-B | <1
WS- 004992 | 2021-03-22 | 2022-03-22 | 1 | Health Suite | In health suite in dental exam room W111 |  |  | WF-03222021-004992 | 2022-03-24 | FT-FY22-02212022-004992-A | <1 | FT-FY22-02212022-004992-B | <1
WS- 004993 | 2021-03-22 | 2022-03-22 | 1 | Health Suite | In health suite in exam room W112 |  |  | WF-03222021-004993 | 2022-03-24 | FT-FY22-02212022-004993-A | <1 | FT-FY22-02212022-004993-B | <1
WS- 004994 | 2021-03-22 | 2022-03-22 | 1 | Health Suite | In health suite in exam room W113 |  |  | WF-03222021-004994 | 2022-03-24 | FT-FY22-02212022-004994-A | <1 | FT-FY22-02212022-004994-B | <1
WS- 004996 | 2021-03-22 | 2022-03-22 | 1 | Cooler | In hallway adjacent to room 101 | High | Left | WF-03222021-004996 | 2022-03-24 | FT-FY22-02212022-004996-A | <1 | FT-FY22-02212022-004996-B | <1
WS- 004997 | 2021-03-22 | 2022-03-22 | 1 | Cooler | In hallway adjacent to room 101 | Low | Right | WF-03222021-004997 | 2022-03-24 | FT-FY22-02212022-004997-A | <1 | FT-FY22-02212022-004997-B | <1
WS- 004998 | 2021-03-22 | 2022-03-22 | 1 | Bottle Filler | In cafeteria (bottle filler) |  |  | WF-03222021-004998 | 2022-03-24 | FT-FY22-02212022-004998-A | <1 | FT-FY22-02212022-004998-B | <1
WS- 005000 | 2021-03-22 | 2022-03-22 | 1 | Cooler | In cafeteria | High | Left | WF-03222021-005000 | 2022-03-24 | FT-FY22-02212022-005000-A | <1 | FT-FY22-02212022-005000-B | <1
WS- 005001 | 2021-03-22 | 2022-03-22 | 1 | Cooler | In cafeteria | Low | Right | WF-03222021-005001 | 2022-03-24 | FT-FY22-02212022-005001-A | <1 | FT-FY22-02212022-005001-B | <1
WS- 005003 | 2021-03-22 | 2022-03-22 | 1 | Cooler | In hallway adjacent to room 153 | High | Left | WF-03222021-005003 | 2022-03-24 | FT-FY22-02212022-005003-A | <1 | FT-FY22-02212022-005003-B | <1
WS- 005004 | 2021-03-22 | 2022-03-22 | 1 | Cooler | In hallway adjacent to room 153 | Low | Right | WF-03222021-005004 | 2022-03-24 | FT-FY22-02212022-005004-A | <1 | FT-FY22-02212022-005004-B | <1

## Food Prep Sink
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 005006 | 2022-02-09 | 2023-02-09 | 1 | Food Prep Sink | In kitchen west wall | WF-02092022-005006 | 2022-03-24 | FT-FY22-02212022-005006-A | <1 | FT-FY22-02212022-005006-B | <1

## Plumbing Check
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 002539 | 2022-04-06 | 2023-04-06 | 1 | Classroom Faucet | In day care room 175 | WF-04062022-002539 | 2022-04-12 | FT-FY22-04062022-002539-A | <1 | FT-FY22-04062022-002539-B | <1