## FY21 Filter Test
Record ID | Filter Installed Date | Filter Expiration Date | Floor | Device Type | Device Location |  |  | Water Filter's Name | Date Analyzed | 1st Draw - Sample ID | FT Final Result - 1st Draw (ppb) | 2nd Draw - Sample ID | FT Final Result - 2nd Draw (ppb)
WS- 011473 | 2021-05-10 | 2022-05-10 | Basement | Cooler | In workshop room 0102 |  |  | WF-05102021-011473 | 2021-05-17 | FT-FY21-052021-011473-A | <1 | FT-FY21-052021-011473-B | <1
WS- 011475 | 2021-05-10 | 2022-05-10 | 1 | Cooler | In health suite | High | Left | WF-05102021-011475 | 2021-05-17 | FT-FY21-052021-011475-A | <1 | FT-FY21-052021-011475-B | <1
WS- 011476 | 2021-05-10 | 2022-05-10 | 1 | Cooler | In health suite | Low | Right | WF-05102021-011476 | 2021-05-17 | FT-FY21-052021-011476-A | <1 | FT-FY21-052021-011476-B | <1
WS- 011477 | 2021-05-10 | 2022-05-10 | 1 | Bottle Filler | In health suite |  |  | WF-05102021-011477 | 2021-05-17 | FT-FY21-052021-011477-A | <1 | FT-FY21-052021-011477-B | <1
WS- 011514 | 2021-05-10 | 2022-05-10 | 2 | Cooler | In gym | High | Left | WF-05102021-011514 | 2021-05-17 | FT-FY21-052021-011514-A | <1 | FT-FY21-052021-011514-B | <1
WS- 011515 | 2021-05-10 | 2022-05-10 | 2 | Cooler | In gym | Low | Right | WF-05102021-011515 | 2021-05-17 | FT-FY21-052021-011515-A | <1 | FT-FY21-052021-011515-B | <1